| Title | Demonstrate knowledge of pressure measurement systems used in industry |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: – demonstrate knowledge of pressure measurement devices; – describe pressure calibration equipment; – calibrate pressure transmitters and gauges; and – describe methods of pressure instrument installation. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Theory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Reference

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

and all subsequent amendments and replacements.

2	Definition

Industry requirements – includes all asset owner requirements; manufacturers’ specifications; enterprise requirements which cover documented workplace policies, procedures, specifications, and business requirements; and quality management requirements relevant to the assessment being carried out.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of pressure measurement devices.

Performance criteria

1.1	Describe common mechanical pressure devices with reference to operating principles and construction materials of components.

Range	bourdon (C type, helical, spiral), bellows, diaphragm, capsule, pressure switch.

1.2	State typical pressure ranges for each device.

Range	gauge pressure, absolute pressure, vacuum, differential pressure.

1.3	Describe operating principles and main components used in pneumatic pressure transmitters.

Range	force balance, relay, all components, 20-100kPa.

1.4	Describe operating principles and main components used in electronic pressure transmitters.

Range	capacitance, strain gauge, vibrating wire, 4-20mA, block diagram.

Outcome 2

Describe pressure calibration equipment.

Range	reference to construction, operating principles, pressure ranges.

Performance criteria

2.1	Describe manometers.

Range	U tube, single limb, inclined tube, mercury, water, oil.

2.2	Describe air test equipment.

Range	precision gauge, precision regulator.

2.3	Describe hydraulic test equipment.

Range	comparator, deadweight tester, force balance.

2.4	Describe dedicated electronic precision pressure calibration equipment.

2.5	Describe vacuum test equipment.

Range	manometer, vacuum pump.

2.6	Describe nitrogen bottle test equipment.

Range	precision gauge, precision regulator.

Outcome 3

Calibrate pressure transmitters and gauges.

Range	vacuum transmitter, low pressure transmitter, pressure switch, pressure gauge.

Performance criteria

3.1	Select test equipment according to the accuracy and range of the device.

Range	deadweight, manometer, air test equipment, dedicated test equipment.

3.2	Explain and follow safe work procedures.

Range	isolation, filled systems, chemical (oxygen or oil), pressure, mercury.

3.3	Calibrate transmitters and gauges using adjustments appropriate to the equipment.

Range	zero, span, linearity, head correction.

3.4	Identify types and causes of typical measurement errors.

3.5	Record test results in accordance with industry requirements.

Outcome 4

Describe methods of pressure instrument installation.

Performance criteria

4.1	Describe isolation seals used on pressure gauges and transmitters.

Range	liquid, gas, sanitary, vacuum.

4.2	Define mounting methods and special applications.

Range	liquid, steam, vapour, gas, diaphragm seals, liquid fill, snubbers.

4.3	Describe instrument 4-20 mA loop wiring and earthing requirements.

Range	screened cable, single common earth point, resistance limits, loading limits, radio frequency interference (RFI).

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 28 November 2013 | 31 December 2027 |
| Rollover | 7 | 28 June 2018 | 31 December 2027 |
| Review | 8 | 30 January 2025 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.