| Title | Demonstrate knowledge of level measurement systems used in industry |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | People credited with this unit standard are able to: – demonstrate knowledge of pressure measurement devices used for level measurement; – calibrate level measurement devices; and – demonstrate knowledge of calibration methods for a level measurement system. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Theory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Reference

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

and all subsequent amendments and replacements.

2	Definition

Industry requirements – includes all asset owner requirements; manufacturers’ specifications; enterprise requirements which cover the documented workplace policies, procedures, specifications, and business requirements; and quality management requirements relevant to the assessment being carried out.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of pressure measurement devices used for level measurement.

Performance criteria

1.1	Describe differential pressure transmitters and their installation, as used for tank liquid level measurement systems.

Range	open tank, closed tank (wet leg, dry leg), diaphragm seals, bubble tube.

1.2	Describe measurement methods for liquid levels.

Range	float, sight glass, displacer, ultrasonic, radar, nuclear radiation, capacitive, resistive, conductive.

1.3	Describe level measurement methods for solids and powder.

Range	ultrasonic, radar, nuclear radiation, capacitive.

1.4	Outline alternative applications of level measurement devices.

Range	differential pressure transmitters used for density measurement.

1.5	Explain non-linear tank level measurement applications.

Outcome 2

Calibrate level measurement devices.

Range	pressure transmitters.

Performance criteria

2.1	Explain and follow safe work procedures.

Range	isolation, filled systems, chemical (oxygen or oil), pressure, mercury.

2.2	Select test equipment according to the accuracy and range of the device.

Range	deadweight tester, manometer, comparator.

2.3	Identify types and cause of typical measurement errors.

Range	temperature, vibration, wear, selection of device.

2.4	Calibrate devices by making appropriate adjustments.

Range	zero, span, linearity, head correction.

2.5	Record test results in accordance with industry requirements.

Outcome 3

Demonstrate knowledge of calibration methods for a level measurement system.

Range	level measurement systems may include – displacer, ultrasonic, radar, nuclear radiation, capacitive, resistive, conductive;

evidence of one level measurement system is required.

Performance criteria

3.1	Explain and follow safe work procedures.

Range	pressure, radiation, tank products.

3.2	Describe calibration procedures with reference to calibration principles and manufacturer’s instructions.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 28 November 2013 | 31 December 2027 |
| Rollover | 7 | 28 June 2018 | 31 December 2027 |
| Review | 8 | 30 January 2025 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.