| Title | Demonstrate knowledge of temperature measurement systems used in industry |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: – demonstrate knowledge of temperature measurement devices; – describe calibration equipment used for temperature transmitters, elements, and indicators; – determine characteristics and calibrate temperature measurement devices; and – describe methods of temperature instrument installation. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Theory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Reference

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

and all subsequent amendments and replacements.

2	Definition

RTD – Resistance Temperature Detector.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of temperature measurement devices.

Performance criteria

1.1	Describe principles of thermocouple temperature measurement.

Range	iron/constantan (J), chromel/alumel (K), copper constantan (T), platinum/rhodium (R,S), materials of construction for all components, reference junction, measuring junction.

1.2	Describe RTD measuring devices and bridge circuits.

Range	platinum thermometer 100ohm at zero degrees centigrade (PT100); 2, 3, and 4 wire bridge circuits.

1.3	Describe thermistor and semiconductor temperature devices with reference to their characteristics and applications.

1.4	Describe operating principles of filled system, bimetallic and thermostatic temperature devices.

Range	sensing element, fill medium, transmitter, thermostat, temperature range, ambient temperature compensation.

1.5	Describe radiation type temperature devices.

Range	optical, thermopile, infrared pyrometer.

1.6	Describe alternative applications of temperature measurement devices.

Range	wet dry bulb, humidity.

Outcome 2

Describe calibration equipment used for temperature transmitters, elements, and indicators.

Performance criteria

2.1	Describe safety precautions for working with temperature calibration baths.

Range	liquid flashpoint, fluidised sand.

2.2	Describe and apply principles and equipment for calibration of thermocouple transmitters and indicators.

Range	potentiometer, dedicated test equipment, ambient temperature, use of millivolt vs temperature tables.

2.3	Describe and apply principles and equipment for calibration of RTD transmitters and indicators.

Range	decade resistance box, dedicated test equipment, use of resistance vs. temperature tables.

2.4	Interpret tables supplied for common RTDs.

2.5	Describe temperature calibration equipment.

Range	temperature controlled liquid bath, sand bath, dry block calibrator, ice.

Outcome 3

Determine characteristics and calibrate temperature measurement devices.

Performance criteria

3.1	Explain and follow safe work procedures.

Range	temperature, boiling liquids.

3.2	Define thermocouple characteristics with the aid of a temperature bath.

Range	millivolts per degree centigrade (mV/°C), cold junction stabilisation, cold junction compensation, extension wires, law of intermediate metals, law of intermediate temperatures.

3.3	Calibrate transmitters, indicators, or circuits, to an accuracy specified by the data sheet.

Range	thermocouple, RTD.

Outcome 4

Describe methods of temperature instrument installation.

Performance criteria

4.1	Describe thermocouple wiring methods.

Range	extension cables, compensation cables, colour codes, cold junction compensation, cold junction stabilisation.

4.2	Describe RTD wiring methods.

Range	2, 3, 4 wire format.

4.3	Describe mounting methods and special applications.

Range	thermowells, multiple devices, thermocouples for differential temperature, thermocouples for average temperature, thermopiles.

4.4	Describe design and speed of response of temperature probes and associated thermowells.

Range	RTD, thermocouple.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 28 November 2013 | 31 December 2027 |
| Rollover | 7 | 28 June 2018 | 31 December 2027 |
| Review | 8 | 30 January 2025 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.