| Title | Maintain temperature measurement devices used in industry |
| --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: – reconfigure or calibrate temperature measurement devices; – service and test temperature measurement devices and systems. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

# Guidance Information

1	This unit standard has been developed for learning and assessment in a workplace environment.

2	References

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

Electricity Act 1992;

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015 and associated regulations;

ISSN 0114-0663, New Zealand Electrical Codes of Practice, available from Worksafe, https://worksafe.govt.nz/;

and all subsequent amendments and replacements.

3	References

Industry requirements – includes all asset owner requirements; manufacturers’ specifications; enterprise requirements which cover the documented workplace policies, procedures, specifications, and business requirements; and quality management requirements relevant to the workplace in which the assessment is carried out.

Maintain – planned activity during normal operation, to conserve or keep an item or piece of equipment in a state of repair and to ensure that this is done in a sustainable way.

Service – planned activity during normal operation that involves inspection, cleaning, testing, adjusting, or making minor repairs to a piece of equipment to ensure that it works properly.

4	Recommended skills and knowledge: Unit 2634, Demonstrate knowledge of temperature measurement systems used in industry; and Unit 28078, Demonstrate knowledge of industrial measurement processes, standards, and calibration.

# Outcomes and performance criteria

# Outcome 1

# Reconfigure or calibrate temperature measurement devices.

Range	resistance temperature transmitter (RTD), thermocouple transmitter, loop equipment.

# Performance criteria

1.1	Identify types and causes of typical errors.

Range	may include but is not limited to – earth faults, loop resistance, reference-probe error.

1.2	Explain and follow safe work procedures.

Range	may include but is not limited to – isolation, temperature, thermowell.

1.3	Select test equipment according to the accuracy required of the device and the full loop to be calibrated.

Range	may include but is not limited to – dedicated test equipment, simple resistance testing device, potentiometer, comparative type testing device, ice bath, dry-block, blackbody furnace.

1.4	Calibrate full temperature measuring loop, as specified by the data sheet.

1.5	Document test results in accordance with industry requirements.

# Outcome 2

# Service and test temperature measurement devices and systems.

Range	RTD transmitter, thermocouple transmitter, filled systems, radiation pyrometer, bimetallic thermostats, and associated equipment;

evidence of two is required.

# Performance criteria

2.1	Locate, interpret, and apply technical information for maintaining equipment.

2.2	Explain and follow safe work procedures.

Range	may include but is not limited to – isolation, temperature, thermowell.

2.3	Complete maintenance and repairs to ensure continued operation.

Range	may include but is not limited to – tools, materials, parts, techniques (including tests), specifications.

2.4	Produce maintenance reports in accordance with industry requirements.

| Planned review date | 31 December 2021 |
| --- | --- |

# Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 21 November 2013 | N/A |
| Rollover and Revision | 7 | 28 June 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

# Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.