	NZQA Expiring unit standard
	2636 version 8

	
	Page 1 of 2




	Title
	Demonstrate knowledge of flow measurement systems used in industry

	Level
	3
	Credits
	4


	Purpose
	People credited with this unit standard are able to:

– 
demonstrate knowledge of flow measuring devices;

– 
describe flowmeter calibration check procedures;

– 
plot flowmeter and associated equipment characteristic graphs; and

– 
demonstrate knowledge of methods of flowmeter installation.


	Classification
	Industrial Measurement and Control > Industrial Measurement and Control - Theory


	Available grade
	Achieved


Guidance Information

None.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of flow measuring devices.

Performance criteria

1.1
Describe common differential pressure primary flow elements and compare their features.

Range
orifice plate, venturi, pitot tube, annubar, flow nozzle.

1.2
Describe differential pressure transmitters and ancillary equipment used with the primary flow element.

Range
square root extractor, integrator, 3 valve manifold.

1.3
Describe flowmeters using the velocity principle and compare their features.

Range
electromagnetic, vortex, turbine.

1.4
Describe general flowmeters and compare their features.

Range
rotameter (variable area), target.

1.5
Describe operating principles and uses of positive displacement quantity flowmeters.

Range
uses – water, petrol, gas;


types – nutating disc, oval gear, rotary piston, bellows.

1.6
Describe operating principles and features of dedicated mass flowmeters.

Range
coriolis, thermal dispersion.

1.7
Describe and compare operating principles, flow range, and characteristics of open channel flowmeters.

Range
weirs, vee notch, rectangular, submerged, flumes, venturi, parshall.

Outcome 2

Describe flowmeter calibration check procedures.

Performance criteria

2.1
Describe methods of checking calibration for flowmeters.

Range
flowmeters – electromagnetic, turbine, mass flowmeter;


calibration equipment – dedicated, flow rig, frequency counter, reference flowmeter.

2.2
Describe meter provers used for calibration of high accuracy positive displacement flowmeters.

2.3
Outline orifice plate sizing principles.

Range
differential pressure, flowrate, density, temperature, pipe size, computer software.

Outcome 3

Plot flowmeter and associated equipment characteristic graphs.

Performance criteria

3.1
Plot differential pressure versus flow characteristic for a differential pressure flow element.

Range
one of – orifice plate, venturi, pitot tube.

3.2
Plot input versus output characteristic of associated equipment.

Range
one of – square root extractor, integrator.

3.3
Plot output signal versus flow graph of velocity flow meter.

Range
one of – turbine, electromagnetic, vortex.

3.4
Plot level versus flow graph for either weir or flume.

Outcome 4

Demonstrate knowledge of methods of flowmeter installation.

Performance criteria

4.1
Explain, with the aid of sketches, the installation requirements for orifice plates, differential pressure transmitters, and three-valve manifolds.

Range
evidence of one method of measurement is required, involving either gas, steam, or liquid.

4.2
Identify and define orifice plate formats and applications.

Range
eccentric, concentric, segmented, bleed holes.

4.3
Identify electromagnetic flowmeter tube earthing requirements.

4.4
Explain instrument 4-20mA loop wiring and earthing requirements.

Range
screened cable, single common earth point.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.
Status information and last date for assessment for superseded versions

	Process
	Version
	Date
	Last Date for Assessment

	Registration
	1
	31 October 1995
	31 December 2013

	Revision
	2
	30 October 1997
	31 December 2013

	Revision
	3
	3 April 2001
	31 December 2013

	Review
	4
	22 June 2001
	31 December 2013

	Review
	5
	19 May 2008
	31 December 2019

	Review
	6
	28 November 2013
	31 December 2027

	Rollover and Revision
	7
	28 June 2018
	31 December 2027

	Review
	8
	30 January 2025
	31 December 2027


	Consent and Moderation Requirements (CMR) reference
	0003


This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

	Waihanga Ara Rau Construction and Infrastructure Workforce Development Council 

SSB Code 6046 
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2025



