| Title | Maintain flow measurement devices used in industry |
| --- | --- |
| Level | 3 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: – calibrate or configure flow measurement transmitters and devices; and – service flow measurement transmitters and devices. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment in a workplace environment.

2	References

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

Electricity Act 1992;

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015 and associated regulations;

ISSN 0114-0663, New Zealand Electrical Codes of Practice, available from Worksafe, https://worksafe.govt.nz/;

and all subsequent amendments and replacements.

3	Definitions

DP – Differential Pressure.

Industry requirements – includes all asset owner requirements; manufacturers’ specifications; enterprise requirements which cover the documented workplace policies, procedures, specifications, and business requirements; and quality management requirements relevant to the workplace in which the assessment is carried out.

Service – planned activity during normal operation that involves inspection, cleaning, testing, adjusting, or making minor repairs to a piece of equipment to ensure that it works properly.

4	Recommended skills and knowledge: Unit 2636, Demonstrate knowledge of flow measurement systems used in industry; and Unit 28078, Demonstrate knowledge of industrial measurement processes, standards, and calibration.

Outcomes and performance criteria

Outcome 1

Calibrate or configure flow measurement transmitters and devices.

Range	DP transmitter used for orifice plate, venturi, averaging pitot tube or flow nozzle;

evidence of one required.

Electromagnetic, vortex, turbine, positive displacement, mass flow meter, weir, flume;

evidence of one is required.

Performance criteria

1.1	Explain and follow safe work procedures.

Range	may include but is not limited to – process isolation, loop isolation.

1.2	Select test equipment according to manufacturer’s specifications.

1.3	Identify type and cause of typical errors.

Range	may include but is not limited to – zero span, linearity, impulse line fill.

1.4	Calibrate or configure devices to parameters specified by the data sheet.

1.5	Document test results in accordance with industry requirements.

Outcome 2

Service flow measurement transmitters and devices.

Range	electromagnetic, vortex, turbine, positive displacement, mass flow meter, weir, flume;

evidence of one required.

DP transmitter used for orifice plate, venturi, averaging pitot tube or flow nozzle;

evidence of one required.

Performance criteria

2.1	Locate, interpret, and apply technical information for servicing equipment.

2.2	Explain and follow safe work procedures.

Range	may include but not limited to – isolation, process material, pressure.

2.3	Service and test transmitters and devices to ensure correct and continued operation.

Range	may include but not limited to – tools, materials, parts, techniques, specifications.

2.4	Produce reports and documentation in accordance with industry practice.

| Planned review date | 31 December 2021 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 21 November 2013 | N/A |
| Rollover and Revision | 7 | 28 June 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.