| Title | Demonstrate knowledge of control valves, actuators, and positioners |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of: – control valves; – control valve sizing for liquid flow; – valve actuators; and – valve positioners. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Theory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

None.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of control valves.

Performance criteria

1.1	Define terms associated with control valve components.

Range	trim (wetted parts), stem packing, yoke, plug, seat.

1.2	Describe control valve types and compare their features.

Range	linear – single seated globe, double seated, saunders, cage guided, multi-orifice;

rotary – ball, butterfly, eccentric rotary plug.

1.3	Describe control valve inherent flow versus lift characteristics under constant pressure drop conditions.

Range	linear, equal percentage, quick opening.

1.4	Describe control valve installed flow versus lift characteristics.

1.5	Explain the terms ‘rangeability’ and ‘turndown’ in the context of control valve operation.

1.6	Describe damage associated with control valves and describe causes.

Range	erosion, corrosion, cavitation, flashing, wear.

Outcome 2

Demonstrate knowledge of control valve sizing for liquid flow.

Performance criteria

2.1	Calculate control valve sizes for liquid flow, based on valve sizing coefficients Cv (imperial), Av (metric), or Kv (metric).

2.2	Calculate size of control valve, based on differential pressure and flow with the valve fully open.

Range	differential pressure (pounds per square inch - psi); flow (US gallons per minute); Cv, Av, or Kv.

Outcome 3

Demonstrate knowledge of valve actuators.

Performance criteria

3.1	Explain air operated control valve actuators.

Range	diaphragm, single acting piston spring return, double acting, pressures, bench set.

3.2	Describe electrically operated control valve actuators.

Range	motorised valves, solenoid valves.

3.3	Describe hydraulic and electro-hydraulic actuators and servo valves.

3.4	Compare features of control valve actuator types.

Range	diaphragm, piston, operating pressures, size, electric, hydraulic.

Outcome 4

Demonstrate knowledge of valve positioners.

Performance criteria

4.1	Explain reasons for using control valve positioners.

Range	stem friction, long transmission lines, split range control valves, characterising stem movement, change pressure range, double acting piston actuator.

4.2	Describe control valve positioners.

Range	electro-pneumatic (4-20mA input), digital valve controllers, motion balance, force balance, double acting (5 port spool valve).

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 28 November 2013 | 31 December 2027 |
| Rollover and Revision | 7 | 28 June 2018 | 31 December 2027 |
| Review | 8 | 30 January 2025 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.