| Title | Maintain a pH measuring system for chemical analysis |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: – calibrate a pH measuring system in accordance with industry requirements; and – verify operation of pH measuring system is correct and service in accordance with industry requirements. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment in a workplace environment.

2	References

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015;

ISSN 0114-0663, New Zealand Electrical Codes of Practice, available from Worksafe, https://worksafe.govt.nz/;

and all subsequent amendments and replacements.

3	Definitions

Industry requirements – include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business and quality management requirements relevant to the workplace in which assessment is carried out.

PPE – Personal Protection Equipment – that is appropriate to any job being undertaken and can include overalls, safety glasses, gloves, face masks, safety boots, ear muffs etc.

Service – planned activity during normal operation that involves inspection, cleaning, testing, adjusting or making minor repairs to a piece of equipment to ensure that it works properly.

4	Recommended skills and knowledge: Unit 28080, Demonstrate knowledge of liquid analytical measurement systems.

Outcomes and performance criteria

Outcome 1

Calibrate a pH measuring system in accordance with industry requirements.

Performance criteria

1.1	Select test equipment according to required accuracy and range of devices.

Range	may include but is not limited to – buffer solutions, probe simulator.

1.2	Follow safe work procedures.

Range	may include but is not limited to – isolation, process fluid, pressure, PPE.

1.3	Calibrate equipment by making appropriate adjustments, to specified accuracy.

Range	may include but is not limited to – zero, span, backing off.

1.4	Identify and explain type and cause of typical errors.

Range	may include but is not limited to – probe failure, connector corrosion, insulation resistance.

1.5	Produce calibration reports in accordance with industry requirements.

Outcome 2

Verify operation of pH measuring system is correct and service in accordance with industry requirements.

Performance criteria

2.1	Service a pH measuring system and verify performance to ensure correct and continued operation.

Range	may include but is not limited to – tools, materials, parts, techniques (including testing), specifications.

2.2	Follow safe work procedures.

Range	may include but is not limited to – isolation, process fluid, pressure, PPE.

2.3	Produce service reports.

2.4	Locate, interpret, and apply technical information for servicing equipment.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 21 November 2013 | 31 December 2027 |
| Rollover and Revision | 7 | 28 June 2018 | 31 December 2027 |
| Review | 8 | 30 January 2025 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.