| Title | Maintain a consistency or a viscosity measuring system |
| --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: – calibrate a consistency or a viscosity measuring system; and – maintain operation of and service a consistency or a viscosity measuring system. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment in a workplace environment.

2	References

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

Electricity Act 1992;

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015 and associated regulations;

ISSN 0114-0663, New Zealand Electrical Codes of Practice, available from Worksafe, https://worksafe.govt.nz/;

and all subsequent amendments and replacements.

3	Definitions

Industry requirements – includes all asset owner requirements; manufacturers’ specifications; enterprise requirements which cover the documented workplace policies, procedures, specifications, and business requirements; and quality management requirements relevant to the workplace in which the assessment is carried out.

Maintain – planned activity during normal operation, to conserve or keep an item or piece of equipment in a state of repair and to ensure that this is done in a sustainable way.

PPE – Personal Protection Equipment that is appropriate to any job being undertaken and can include overalls, safety glasses, gloves, face masks, safety boots, ear muffs etc.

Service – planned activity during normal operation that involves inspection, cleaning, testing, adjusting or making minor repairs to a piece of equipment to ensure that it works properly.

4	Recommended skills and knowledge: Unit 28080, Demonstrate knowledge of liquid analytical measurement systems.

Outcomes and performance criteria

Outcome 1

Calibrate a consistency or a viscosity measuring system.

Performance criteria

1.1	Explain and follow safe work procedures.

Range	may include but is not limited to – isolation practice, temperature, pressure.

1.2	Select test equipment according to required accuracy and range of devices.

Range	may include but is not limited to – sample liquid, pulp sample, weights.

1.3	Identify and explain types and causes of typical errors.

Range	may include but is not limited to – wear, corrosion.

1.4	Calibrate equipment by making appropriate adjustments, to a specified accuracy.

Range	may include but is not limited to – zero, span, temperature compensation.

1.5	Produce calibration reports in accordance with industry requirements.

Outcome 2

Maintain operation of and service a consistency or a viscosity measuring system.

Performance criteria

2.1	Locate, interpret, and apply technical information for servicing equipment.

2.2	Explain and follow safe work procedures.

Range	may include but is not limited to – isolation practice, temperature, pressure.

2.3	Service and verify performance of a consistency or a viscosity measuring system to ensure continued operation.

Range	may include but is not limited to – tools, materials, parts, techniques, specifications.

2.4	Produce service reports in accordance with industry requirements.

| Planned review date | 31 December 2021 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 21 November 2013 | N/A |
| Rollover and Revision | 7 | 28 June 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.