| Title | Maintain analytical monitoring equipment |
| --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: – calibrate analytical exhaust monitoring equipment; and – service analytical exhaust monitoring equipment. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment in the workplace.

2	References

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

Electricity Act 1992;

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015 and

Associated regulations;

ISSN 0114-0663, New Zealand Electrical Codes of Practice, available from Worksafe, https://worksafe.govt.nz/;

and all subsequent amendments and replacements.

3	Definitions

Industry requirements – includes all asset owner requirements, manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business requirements; and quality management requirements relevant to the workplace in which the assessment is carried out.

PPE – Personal Protection Equipment that is appropriate to any job being undertaken and can include overalls, safety glasses, gloves, face masks, safety boots, ear muffs etc.

Service – planned activity during normal operation, that involves, inspection, cleaning, testing, adjusting or making minor repairs to a piece of equipment to ensure that it works properly.

4	Recommended skills and knowledge: Unit 28081, Demonstrate knowledge of gas analytical measurement and flame, gas, smoke, and heat detection.

Outcomes and performance criteria

Outcome 1

Calibrate analytical exhaust monitoring equipment.

Performance criteria

1.1	Explain and follow safe work procedures.

Range	may include but is not limited to – isolation, low oxygen, high temperature, toxic gas conditions, PPE.

1.2	Select test equipment according to required accuracy and range of devices.

Range	sample gases, collecting samples, portable analyser;

evidence of one required.

1.3	Identify and explain types and causes of typical errors.

Range	sensor damage, gas sample;

evidence of one required.

1.4	Calibrate equipment by making appropriate adjustments, to a specified accuracy.

Range	zero, span.

1.5	Produce calibration reports in accordance with industry requirements.

Outcome 2

Service analytical exhaust monitoring equipment.

Performance criteria

2.1	Locate, interpret, and apply technical information for servicing equipment.

2.2	Explain and follow safe work procedures.

Range	may include but is not limited to – isolation, low oxygen, high temperature, toxic gas conditions, PPE.

2.3	Service and verify performance of an analytical exhaust monitoring system to ensure continued operation.

Range	may include but is not limited to – tools, materials, parts, techniques, specifications.

2.4	Produce service reports in accordance with industry requirements.

| Planned review date | 31 December 2021 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 21 November 2013 | N/A |
| Rollover and Revision | 7 | 28 June 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.