| Title | Maintain humidity or dewpoint monitoring equipment |
| --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: – calibrate humidity or dewpoint monitoring equipment; and – maintain and repair humidity or dewpoint monitoring equipment. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment in a workplace environment.

2	References

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

Electricity Act 1992;

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015 and

Associated regulations;

ISSN 0114-0663, New Zealand Electrical Codes of Practice, available from Worksafe, https://worksafe.govt.nz/;

and all subsequent amendments and replacements.

3	Definitions

Industry requirements – includes all asset owner requirements, manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business requirements; and quality management requirements relevant to the workplace in which the assessment is carried out.

Maintain – planned activity during normal operation, to conserve or keep an item or piece of equipment in a state of repair and to ensure that this is done in a sustainable way.

Repair – unplanned and often urgent work that needs to be carried out to restore plant or equipment to normal operation.

4	Recommended skills and knowledge: Unit 28081, Demonstrate knowledge of gas analytical measurement and flame, gas, smoke, and heat detection.

Outcomes and performance criteria

Outcome 1

Calibrate humidity or dewpoint monitoring equipment.

Performance criteria

1.1	Identify type and cause of typical errors.

Range	may include but is not limited to – probe failure, temperature compensation.

1.2	Explain and follow safe work procedures.

Range	may include but is not limited to – isolation, pressure.

1.3	Select test equipment according to accuracy and range of devices.

Range	may include but is not limited to – psychometric chart, wet-dry bulb hygrometer.

1.4	Calibrate humidity or dewpoint monitoring equipment to an accuracy specified by the data sheet.

Range	zero, span.

1.5	Document test results in accordance with industry requirements.

Outcome 2

Maintain and repair humidity or dewpoint monitoring equipment.

Performance criteria

2.1	Locate, interpret, and apply technical information for maintaining equipment.

2.2	Explain and follow safe work procedures.

Range	may include but is not limited to – isolation, pressure.

2.3	Maintain and repair equipment to ensure continued operation.

Range	may include but is not limited to – tools, materials, parts, techniques, specifications.

2.4	Produce maintenance reports in accordance with industry requirements.

| Planned review date | 31 December 2021 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 21 November 2013 | N/A |
| Rollover and Revision | 7 | 28 June 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.