| Title | Perform paper, thin layer, and column chromatography |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: perform chromatographic techniques; and interpret results. |
| --- | --- |

| Classification | Science > Biochemistry |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All work must be carried out in accordance with the quality management system, documented protocol system or Standard Operating Procedures (SOP) acceptable in a commercial or research laboratory.

2	Health and Safety practices must conform to Australian/New Zealand Standard AS/NZS 2243 – Safety in Laboratories Parts 1, 2, 3, 7 and 10 available at http://www.standards.co.nz .

3	Legislation applicable to this unit standard includes:

Health and Safety at Work Act 2015;

Hazardous Substances and New Organisms Act 1996.

4	Evidence of chromatography techniques must include – paper, thin layer, column.

These chromatography techniques could include using cellulose, ion exchange, exclusion, affinity, or silica.

5	Glossary

Laboratory procedures refer to documented systems or processes of operation which may be found in a SOP manual, quality management system, or in protocol system documentation.  These procedures are external and/or internal laboratory requirements governing laboratory work.

Outcomes and performance criteria

Outcome 1

Perform chromatographic techniques.

Performance criteria

1.1	Solvent system is selected appropriate to separation requirements.

1.2	Medium is selected appropriate to the sample.

1.3	Detection method is selected appropriate to the sample.

1.4	Selections made are justified in accordance with laboratory procedures.

Outcome 2

Interpret results.

Performance criteria

2.1	Results are recorded and analysed in accordance with laboratory procedures.

2.2	Interpretation is consistent with results and sample.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 September 2010 | 31 December 2025 |
| Rollover | 2 | 27 January 2015 | 31 December 2025 |
| Review | 3 | 27 September 2018 | 31 December 2025 |
| Review | 4 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.