| Title | Demonstrate knowledge of signal conditioners, trending recorders, and alarm systems |
| --- | --- |
| Level | 4 | Credits | 3 |

| Purpose | This unit standard covers signal conditioning equipment, recorders, and alarm systems. However, it excludes transmitters and controllers. People credited with this unit standard are able to demonstrate knowledge of: – analogue signal conditioners; – trending recorders; and – alarm systems. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Theory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

None.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of analogue signal conditioners.

Performance criteria

1.1	Identify signal conditioning functions and uses.

Range	equipment – square root extractor, integrator, summer, current to pressure converter, pressure to current converter, function generator, multiplier divider, ratio module, booster relay, ratio relays, switching relays, current repeaters (isolators).

1.2	Describe the operation of signal conditioning modules with the aid of functional diagrams.

Range	current to pressure, pressure to current.

1.3	Plot input versus output characteristics from selected signal conditioning modules.

Range	module types may include – square root extractor, integrator, summer, current to pressure converter, pressure to current converter, function generator, multiplier divider, ratio module;

evidence of two module types is required.

Outcome 2

Demonstrate knowledge of trending recorders.

Performance criteria

2.1	Describe function and uses of trending recorders.

Outcome 3

Demonstrate knowledge of alarm systems.

Performance criteria

3.1	Describe operation of alarm systems with the aid of a functional diagram.

3.2	Explain terms associated with alarm systems.

Range	first out, accept, fail-safe modes, alarm priorities.

| Planned review date | 31 December 2021 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 28 November 2013 | N/A |
| Rollover and Revision | 7 | 28 June 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.