| Title | Purify Nucleic Acids |  |  |
| --- | --- | --- | --- |
| Level | 6 | Credits | 4 |

| Purpose | People credited with this unit standard are able to: describe purification techniques for nucleic acids; and carry out DNA and RNA purification techniques. |
| --- | --- |

| Classification | Science > Molecular Biology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All work must be carried out in accordance with the quality management system, documented protocol system or Standard Operating Procedures (SOP) acceptable in a commercial or research laboratory.

2	Health and Safety practices must conform to Australian/New Zealand Standard AS/NZS 2243 – Safety in Laboratories Parts 1, 2, 3, 7 and 10 available at http://www.standards.co.nz.

3	Legislation applicable to this unit standard includes:

Health and Safety at Work Act 2015;

Hazardous Substances and New Organisms Act 1996.

4	Glossary

Laboratory procedures refer to documented systems or processes of operation which may be found in a SOP manual, quality management system, or in protocol system documentation.  These procedures are external and/or internal laboratory requirements governing laboratory work.

5	Recommended for entry: Unit 8040, Perform aseptic laboratory techniques; Unit 8043, Perform spectrophotometric analyses; and Unit 8044, Perform laboratory centrifugation techniques.

Outcomes and performance criteria

- Outcome 1

- Describe purification techniques for nucleic acids.

Range	one each of DNA and RNA.

- Performance criteria

1.1	A technique is selected according to the type of nucleic acid, the material from which the nucleic acid is to be purified, and quantity required.

1.2	Factors are identified that will influence biochemical properties of the nucleic acid.

Range	temperature, concentration, ionic strength, nuclease activity, shearing effects, storage conditions.

1.3	Factors are identified that will influence biochemical properties of DNA and RNA.

Range	two of – temperature, concentration, ionic strength, shearing effects, storage conditions.

- Outcome 2

- Carry out a DNA purification technique.

Range	temperature, concentration, ionic strength, nuclease activity, shearing effects, storage conditions.

- Performance criteria

2.1	Disruption procedure is selected according to cell or tissue type to allow for functional integrity of DNA to be maintained.

2.2	DNA is extracted from a sample and purified in accordance with laboratory procedures.

2.3	DNA yield and purity are determined in accordance with laboratory procedures.

Outcome 3

Carry out an RNA purification technique.

Range	material from which RNA is to be purified may include two of – plant, animal, microorganism, electrophoresis gel.

Performance criteria

3.1	Ribonuclease free conditions are maintained, and RNA is obtained in accordance with laboratory procedures.

3.2	RNA yield and purity are determined in accordance with laboratory procedures.

| Replacement information | This unit standard replaced unit standard 8061 and unit standard 8062. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 September 2010 | 31 December 2025 |
| Rollover | 2 | 27 January 2015 | 31 December 2025 |
| Review | 3 | 27 September 2018 | 31 December 2025 |
| Review | 4 | 30 November 2023 | 31 December 2025 |

| Consent and Moderation Requirements (CMR) reference | 0113 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.