| Title | Demonstrate knowledge of on/off and proportional integral derivative mode control theory and controllers |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 8 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of: – on/off and proportional integral derivative (PID) control theory; – on/off and PID controllers; and – control loop drawings. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Theory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

ANSI/ISA-5.1-2009 Instrumentation Symbols and Identification;

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

and all subsequent amendments and replacements.

2	A useful reference to drawing symbols according to the format of the Scientific Apparatus Manufacturer Association (SAMA) will be found in:

Friedmann, P.G. and Stoltenberg, T.P. (eds) Continuous Process Control.  (Research Triangle Park, NC: Instrument Society of America, 1996.).

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of on/off and proportional integral derivative (PID) control theory.

Performance criteria

1.1	Define commonly used process control terms and provide an example of each.

Range	dead time, first order process, second order process, integrating process (level), non-integrating process (flow), controlled variable, process variable, setpoint, error.

1.2	Describe on/off control and its application.

Range	process, temperature, pressure large capacity.

1.3	Describe characteristics of on/off control, and perform calculations relating to a level process with constant load.

Range	neutral zone (differential gap), period of oscillation, amplitude of oscillation, dead time.

1.4	Define 'actions' relating to controller output operations.

Range	direct acting, reverse acting.

1.5	Define units of proportional only control and the relationship between them.

Range	proportional band, gain, bias.

1.6	Explain, using calculations, limitations of proportional only control under load change conditions, on a level process with constant outflow.

Range	offset, proportional band setting, process size.

1.7	Define integral (also known as reset) control action and the units used.

Range	repeats/minute, minutes/repeat.

1.8	Derivative (also known as rate or pre-act) control action and the derivative limiter coefficient are defined and their uses explained.

Range	minutes, speed-up setting of slow moving process, acts on process variable signal in standard controllers.

1.9	Perform calculations and tests to determine the open loop (automatic mode) response of a PID controller to step and ramp inputs.

Range	proportional only, proportional and integral, proportional and derivative, proportional and integral and derivative.

1.10	Describe closed loop control response characteristics of the process measurement for a proportional integral and derivative controller.

Range	proportional only, proportional and integral, proportional and derivative, proportional, integral and derivative.

1.11	Describe closed loop control response characteristics.

Range	critically damped, underdamped, overdamped, quarter amplitude damped.

Outcome 2

Demonstrate knowledge of on/off and PID controllers.

Performance criteria

2.1	Describe on/off controllers.

Range	thermostat, level process types, pressure control.

2.2	Describe PID controllers with the aid of diagrams.

Range	pneumatic, electronic operational amplifier based, microprocessor.

2.3	Define auto/manual transfer methods used on controllers.

Range	bumpless transfer, setpoint tracking of process variable in manual mode.

2.4	Describe reset windup and methods of prevention.

Range	saturation of the controller output, external reset feedback.

2.5	Analyse PID control implementations.

Range	interacting and non-interacting gains, derivative on setpoint, derivative on error.

Outcome 3

Demonstrate knowledge of control loop drawings.

Performance criteria

3.1	Define control loop schematic drawing symbol formats.

Range	symbol formats – ISA, SAMA.

3.2	Construct and interpret a control loop diagram for each of level, temperature, and flow, using standard symbols.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 28 November 2013 | 31 December 2027 |
| Rollover | 7 | 28 June 2018 | 31 December 2027 |
| Review | 8 | 30 January 2025 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.