| Title | Tune control loops |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to: – demonstrate knowledge of tuning of control loops; – tune control loops; and – demonstrate knowledge of control loop wiring. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Theory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Reference

ANSI/ISA-5.1-2009 Instrumentation Symbols and Identification;

and all subsequent amendments and replacements.

2	Definition

Industry requirements – includes all asset owner requirements, manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business requirements; and quality management requirements relevant to the workplace in which the assessment is carried out.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of tuning of control loops.

Performance criteria

1.1	Describe primary methods of control loop tuning.

Range	initial controller settings, systematic trial and error, ultimate sensitivity, reaction curve.

1.2	Identify correct application and limitations of each tuning method in 1.1 above.

Range	fast control loops, slow loops, initial settings.

1.3	Carry out control loop tuning calculations.

Range	process reaction curve, systematic trial and error, initial controller settings.

Outcome 2

Tune control loops.

Performance criteria

2.1	Implement control loop operation using initial controller settings.

Range	may include – flow, level, pressure, temperature;

evidence of two types is required.

2.2	Tune control loops using the closed loop systematic trial and error method.

Range	may include – flow, level, pressure, temperature;

evidence of two types is required.

2.3	Tune fast control loops using the closed loop ultimate sensitivity method and carry out the appropriate calculations.

Range	may include – flow, level, pressure;

evidence of one type is required.

2.4	Tune slow control loops using the open loop reaction curve method and carry out the appropriate calculations.

Range	may include – level, temperature;

evidence of one type is required.

Outcome 3

Demonstrate knowledge of control loop wiring.

Performance criteria

3.1	Interpret control loop wiring diagrams in accordance with industry requirements.

Range	pressure, level, temperature, flow.

3.2	Wire a control loop in accordance with industry requirements.

Range	pressure, level, temperature, flow;

evidence of one of each type is required.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 28 November 2013 | 31 December 2027 |
| Rollover | 7 | 28 June 2018 | 31 December 2027 |
| Review | 8 | 30 January 2025 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.