| Title | Maintain pneumatic controllers |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: – calibrate a pneumatic controller; and – maintain and repair a pneumatic controller. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment in a workplace environment.

2	References

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

Electricity Act 1992;

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015 and associated regulations;

ISSN 0114-0663, New Zealand Electrical Codes of Practice, available from Worksafe, https://worksafe.govt.nz/;

and all subsequent amendments and replacements.

3	Definitions

Industry requirements – includes all asset owner requirements, manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business requirements; and quality management requirements relevant to the workplace in which the assessment is carried out.

Maintain – planned activity during normal operation, to conserve or keep an item or piece of equipment in a state of repair and to ensure that this is done in a sustainable way.

Repair – unplanned and often urgent work that needs to be carried out to restore plant or equipment to normal operation.

4	Recommended skills and knowledge: Unit 2654, Demonstrate knowledge of on/off and proportional integral derivative mode control theory and controllers.

Outcomes and performance criteria

Outcome 1

Calibrate a pneumatic controller.

Performance criteria

1.1	Identify types and causes of typical errors.

Range	may include but is not limited to – relay wear, bellows failure.

1.2	Explain and follow safe work procedures.

Range	may include but is not limited to – isolation, pressure.

1.3	Select test equipment to match accuracy and range of device.

Range	may include but is not limited to – 20-100kPa, 3-15psi gauges and pressure sources.

1.4	Calibrate the controller for indication in accordance with manufacturer’s instructions.

Range	indication – process variable (input);

setpoint – controlled variable (output);

adjustments – zero, span.

1.5	Test the controller for operation in the control modes selected, and obtain open loop response characteristics.

Range	may include but is not limited to – on/off control, proportional, proportional and integral, proportional and derivative, proportional integral and derivative.

1.6	Test the controller for bumpless transfer operation.

1.7	Document test results in accordance with industry requirements.

Outcome 2

Maintain and repair a pneumatic controller.

Performance criteria

2.1	Explain and follow safe work procedures.

Range	may include but is not limited to – isolation, pressure.

2.2	Locate, interpret, and apply technical information for maintaining equipment.

2.3	Maintain and repair controllers to ensure continued operation.

Range	may include but is not limited to – tools, materials, parts, techniques, specifications.

2.4	Produce maintenance reports in accordance with industry requirements.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 21 November 2013 | 31 December 2027 |
| Rollover and Revision | 7 | 28 June 2018 | 31 December 2027 |
| Review | 8 | 30 January 2025 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.