| Title | Design, erect, and dismantle advanced falsework |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 15 |

| Purpose | This unit standard is for people who have intermediate scaffolding skills and who want to develop their scaffolding skills to an advanced level. People credited with this unit standard are able to: – design advanced falsework; – erect advanced falsework; – check the structure is compliant and complete a GPG inspection report; and – dismantle advanced falsework. |
| --- | --- |

| Classification | Lifting Equipment > Advanced Scaffolding |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job or off-job in a simulated environment.

2	All tasks must be carried out in accordance with:

a	quality management systems;

b	designer’s requirements and manufacturers' operating instructions; legislation, regulations, bylaws, Health and Safety at Work 2015, and Health and Safety in Employment Regulations 1995;

c	the most up to date version of the Good Practice Guidelines - Scaffolding in New Zealand (GPG), 2016 available from https://www.worksafe.govt.nz/topic-and-industry/working-at-height/scaffolding-in-new-zealand/;

and all subsequent amendments and replacements.

3	Definitions

Advanced falsework includes non-standard and specialist uses and the construction of unusual and irregular falsework structures.  This incorporates propping on sloping ground, propping non-level loads, the addition to falsework of other scaffolding structures such as cantilever platforms and falsework to support concrete, both pre-cast and in situ.  Advanced falsework is normally designed, erected, and dismantled to specifications prepared or checked by a chartered engineer.

Client refers to an individual or representative of a company who commissions a particular scaffold or scaffolding structure to be erected, or is an end user of the scaffold or scaffolding structure.

Falsework is defined in the GPG as scaffolding used to prop or support a load at height.

Falsework plan is a key design document prepared by the candidate and used as a basis for the erection of particular falsework.

Scaffolding is as defined in the GPG and in the Health and Safety in Employment Regulations 1995.

4	Training and assessment

This unit standard covers the erection and dismantling of falsework and falsework structures must take place under the supervision of a certified scaffolder who holds a current Certificate of Competence for the scaffolding concerned.

5	Range

Evidence is required of four instances of advanced falsework.  For primary beam support only: shoreload frames, an individual proprietary falsework system, and tube and fitting falsework are all required.  For primary and secondary beam support one of the following is required: shoreload frames, an individual proprietary falsework system, or tube and fitting falsework.

6	Recommended skills and knowledge

New Zealand Certificate in Scaffolding (Level 4) [Ref: 2362], or demonstrate equivalent knowledge and skills.

Outcomes and performance criteria

Outcome 1

Design advanced falsework.

Performance criteria

1.1	Confirm falsework requirements with the client or chartered professional engineer.

Range	includes – loading requirements;

may include but is not limited to – nature of material(s) to be supported, equipment needs, timeframes.

1.2	Determine design parameters, where necessary, meeting chartered professional engineer’s requirements.

Range	includes but is not limited to – calculation of loads, duration of supporting requirements, consideration of environmental factors, regulatory requirements, safety margins.

1.3	Prepare design documents, including where necessary, advice from a chartered professional engineer.

Range	includes falsework plan, gear list, and, where necessary, engineer’s requirements;

may include but is not limited to – CAD printouts, work schedules, staffing allocation, WorkSafe New Zealand and local authority approvals, workplace-specific documentation.

1.4	Submit where necessary, the falsework plan and associated design documents to a chartered professional engineer for checking and make adjustments as required.

Outcome 2

Erect advanced falsework.

Performance criteria

2.1	Confirm the design parameters work begins in accordance with the falsework plan.

Range	includes but is not limited to – ground conditions, bracing points and their structure, load weights, bracing methods, direction and magnitude of forces, movement of personnel and materials.

2.2	Source the necessary equipment in accordance with the falsework plan.

2.3	Erect falsework and associated bracing progressively in accordance with the falsework plan.

2.4	Attach additional scaffolding structures to falsework in accordance with the falsework plan.

Range	may include but is not limited to – cantilever platforms, provision of support for formwork construction.

Outcome 3

Check the structure is compliant and complete a GPG inspection report.

Performance criteria

3.1	Check the structure for compliance in accordance with the falsework plan.

3.2	Complete a GPG inspection report.

3.3	Make changes to the structure ensure compliance and amend the GPG inspection report accordingly.

Outcome 4

Dismantle advanced falsework.

Performance criteria

4.1	Confirm the structure supported by the falsework as self-supporting.

4.2	Remove scaffolding components, and their bracing and ties, progressively back to the supporting members.

4.3	Remove supporting members and their bracing progressively from the top down.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 July 2011 | 31 December 2016 |
| Review | 2 | 16 July 2015 | 31 December 2025 |
| Review | 3 | 24 February 2022 | N/A |
| Revision | 4 | 24 August 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.