| Title | Demonstrate knowledge of distributed control systems |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 2 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of: – distributed control systems; and – signal transmission used in distributed control systems. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Theory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

None.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of distributed control systems.

Performance criteria

1.1	Describe limitations of panel mounted discrete controllers.

Range	lack of flexibility, wiring, panel space.

1.2	Describe advantages of distributed control systems.

Range	flexibility, reduced cabling, multiple operator workstations, reduced hardware, data highway.

1.3	Describe and compare distributed control system interconnection methods.

Range	loop, star, serial, multidrop, nodes, gateways.

1.4	Describe and compare cable types for connections.

Range	twin axial, coaxial, fibre optic, unshielded twisted pair (UTP).

1.5	Describe, with the aid of diagrams, simple distributed control systems.

Range	ring nodes, supervisory computer, distributed controllers, engineering workstation, personal computer.

Outcome 2

Demonstrate knowledge of signal transmission used in distributed control systems.

Performance criteria

2.1	Explain digital data transmission terminology.

Range	parity, baud rate, software, hardware.

2.2	Describe and compare data transmission methods.

Range	serial RS232, serial RS422, serial RS485, parallel, synchronous, asynchronous, Universal Serial Bus (USB).

2.3	Describe and compare distributed control system data transmission protocols.

Range	carrier sense multiple access/collision detection (CSMA/CD), token passing.

2.4	Describe the differences between transmission control protocol (TCP) and TCP/internet protocol (IP).

2.5	Describe and compare data control systems (DCS) and a programmable logic controller (PLC).

2.6	Describe applications for each PLC and DCS and explain the integration between the two.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 28 November 2013 | 31 December 2027 |
| Rollover | 7 | 28 June 2018 | 31 December 2027 |
| Review | 8 | 30 January 2025 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.