| Title | Plan and conduct daily work activities in a civil engineering laboratory |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 10 |

| Purpose | People credited with this unit standard are able to, in a civil engineering laboratory: plan and organise daily work activities; and conduct daily work activities. |
| --- | --- |

| Classification | Infrastructure Civil Engineering > Infrastructure Laboratory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable organisational and legislative requirements.

2	Applicable legislation, regulations, rules, standards and codes include but are not limited to the: Health and Safety at Work Act 2015, Hazardous Substances and New Organisms Act 1996, and their associated regulations and subsequent amendments;

ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available from https://www.iso.org/store.html.

3	Definition

Organisational requirements refer to instructions to staff on policy and procedures which are formally documented or generally accepted at the worksite.  This may include legislation; industry standards and methods; national and international standards and methods; standard operating procedures; specifications; manuals; and manufacturer’s information.

Outcomes and performance criteria

Outcome 1

- Plan and organise daily work activities in a civil engineering laboratory.

Performance criteria

1.1	Work activities and required resources are clarified if necessary.

1.2	Work activities are prioritised and documented in a work plan.

1.3	Work plan is monitored and updated in response to new information, and changes are communicated to appropriate personnel.

- Range	may include but is not limited to – urgent requests, new work, changed situations, instructions from appropriate personnel.

1.4	Work activities are broken down into small achievable components and efficient sequences.

Outcome 2

- Conduct daily work activities in a civil engineering laboratory.

Performance criteria

2.1	Resources are assembled for required activities.

- Range	may include but is not limited to – documentation, personnel, equipment, sub-contractors.

2.2	Activities are undertaken.

2.3	Completion of work activities is recorded.

2.4	Assistance is sought from relevant personnel when difficulties cannot be handled.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 January 2011 | 31 December 2021 |
| Review | 2 | 23 January 2020 | N/A |
| Rollover and Revision | 3 | 24 October 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.