| Title | Operate and maintain basic equipment in a civil engineering laboratory |
| --- | --- |
| Level | 3 | Credits | 10 |

| Purpose | People credited with this unit standard are able to operate and maintain basic equipment in a civil engineering laboratory. |
| --- | --- |

| Classification | Infrastructure Civil Engineering > Infrastructure Laboratory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable organisational and legislative requirements.

- Applicable legislation, regulations, rules, standards and codes include but are not limited to the: Health and Safety at Work Act 2015; Hazardous Substances and New Organisms Act 1996 and their associated regulations and subsequent amendments;

ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available from https://www.iso.org/store.html;

NZS 4402.1:1986 Methods of testing soils for civil engineering purposes - Preliminary and general, available from https://www.standards.govt.nz/;

AS TG1 Simple Linear Measurement Instruments;

AS TG2 Laboratory Balances – Calibration Requirements;

AS TG3 Working Thermometers – Calibration Requirements; available from http://www.ianz.govt.nz/.

3	Definitions

Organisational requirements refer to instructions to staff on policy and procedures which are formally documented or generally accepted at the worksite.  This may include legislation; industry standards and methods; national and international standards and methods; standard operating procedures; specifications; manuals; and manufacturer’s information.

Samples may include but are not limited to – prepared materials and test materials such as standards and reagents.

4	Examples of equipment

Mass: ultra-micro, micro, analytical, precision;

Temperature: thermocouples, infrared, thermistor, liquid capillary;

Length: callipers, micrometers, rulers, tape measures, dial gauges, linear variable displacement transducers (LVDT);

Volume: volumetric container, pressure burette, volume change indicator;

Temperature-controlled cabinet: oven, freezer, incubator, bath.

Outcomes and performance criteria

Outcome 1

Operate and maintain basic equipment in a civil engineering laboratory.

Range	equipment to measure mass, volume, temperature, length;

temperature-controlled cabinet;

evidence is required for two types of equipment from each category.

Performance criteria

1.1	Equipment is selected in accordance with sample requirements and method.

Range	selection criteria include but are not limited to – capacity or range, precision, units, type.

1.2	Equipment is checked before use.

Range	may include but is not limited to – environmental conditions, safety equipment, calibration status, electrical certification.

1.3	Sample requirements are assessed.

Range	includes but is not limited to – environmental conditions, placement.

1.4	Equipment is used.

1.5	Results are recorded.

1.6	Equipment is cleaned and maintained.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 January 2011 | 31 December 2021 |
| Review | 2 | 23 January 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.