| Title | Operate and maintain equipment to measure force in a civil engineering laboratory |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | People credited with this unit standard are able to operate and maintain equipment to measure force in a civil engineering laboratory. |
| --- | --- |

| Classification | Infrastructure Civil Engineering > Infrastructure Laboratory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable organisational and legislative requirements.

- Applicable legislation, regulations, rules, standards and codes include but are not limited to the: Health and Safety at Work Act 2015; Hazardous Substances and New Organisms Act 1996 and their associated regulations and subsequent amendments;

ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available from https://www.iso.org/store.html;

NZS 4402:1986 Methods of testing soils for civil engineering purposes - Preliminary and general, available from https://www.standards.govt.nz/;

NZS 4407:2015 Methods of sampling and testing road aggregates, available from https://standards.govt.nz.

3	Definitions

Organisational requirements refer to instructions to staff on policy and procedures which are formally documented or generally accepted at the worksite.  This may include legislation; industry standards and methods; national and international standards and methods; standard operating procedures; specifications; manuals; and manufacturer’s information.

Samples may include but are not limited to – prepared materials and test materials such as standards and reagents.

Outcomes and performance criteria

- Outcome 1

- Operate and maintain equipment to measure force in a civil engineering laboratory.

Range	mechanical, electronic.

Performance criteria

1.1	Equipment is selected in accordance with sample requirements and method.

- Range	includes but is not limited to – range, precision, units, type.

1.2	Equipment is checked before use.

- Range	may include but is not limited to – condition, environmental conditions, safety equipment, calibration status.

1.3	Sample requirements are assessed.

- Range	may include but is not limited to – environmental conditions, placement.

1.4	Force is measured.

- Range	may include but is not limited to – stable reading, parallax errors.

1.5	Results are recorded.

- Range	results may include but are not limited to – force, date, time, operator.

1.6	Equipment is cleaned and maintained.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 January 2011 | 31 December 2021 |
| Review | 2 | 23 January 2020 | N/A |
| Rollover and Revision | 3 | 24 October 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.