| Title | Explain soil strength tests in a civil engineering laboratory |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 12 |

| Purpose | People credited with this unit standard are able to explain, in a civil engineering laboratory: soil strength test methods; and the application and reporting of soil strength test results. |
| --- | --- |

| Classification | Infrastructure Civil Engineering > Infrastructure Laboratory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable organisational and legislative requirements.

2	Applicable legislation, regulations, rules, standards and codes include but are not limited to the: Health and Safety at Work Act 2015, Hazardous Substances and New Organisms Act 1996, and their associated regulations and subsequent amendments;

ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available from https://www.iso.org/store.html;

NZS 4402:1986 Methods of testing soils for civil engineering purposes - Preliminary and general, available from http://www.standards.co.nz.

3	Evidence is required for two soil strength tests used in a civil engineering laboratory, which may include but are not limited to – California Bearing Ratio - remoulded, California Bearing Ratio - undisturbed, unconfined compressive strength - standard, unconfined compressive strength - autographic, laboratory shear vane, point load.

4	Definitions

Explain refers to describing the components within tests at a specialised technical scientific level and the relationships between them.  It may also include describing the interaction between tests in the context of the process or project for which the tests are being completed.  Components will vary between tests and may include but are not limited to – the project and/or process specifications, sample specifications, equipment requirements, environmental requirements, sequence of tests, units of measurement, limitations, suitability and uncertainty of measurement for the tests. Explanations demonstrate an understanding of the scientific principles underpinning the test and the implications of test results on downstream client processes and projects.  Client processes refer to one or more of the client’s quality management, construction and production processes.

Organisational requirements refer to instructions to staff on policy and procedures which are formally documented or generally accepted at the worksite.  This may include legislation; industry standards and methods; national and international standards and methods; standard operating procedures; specifications; manuals; and manufacturer’s information.

Samples may include but are not limited to – prepared materials and test materials such as standards and reagents.

5	It is recommended people hold Unit 26647, Describe soil strength tests in a civil engineering laboratory, or demonstrate equivalent knowledge and skills before being assessed against this unit standard.

Outcomes and performance criteria

- Outcome 1

- Explain soil strength test methods in a civil engineering laboratory.

- Performance criteria

1.1	The factors that can influence the outcomes of the test are explained.

- Range	may include but is not limited to – temperature, equipment, apparatus, material, technique, calibration, environment.

1.2	The quality assurance of the test is explained.

- Range	may include but is not limited to – signatories, client reporting.

- Outcome 2

- Explain the application and reporting of soil strength test results in a civil engineering laboratory.

Performance criteria

2.1	The application of test results is explained in terms of process implications.

- Range	may include but is not limited to – out of specification results, in specification results, reporting.

2.2	The reporting requirements for test results are explained.

Range	may include but is not limited to – equipment, apparatus, reagents, samples, technique, calibration, environment.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 January 2011 | 31 December 2016 |
| Review | 2 | 19 February 2015 | 31 December 2021 |
| Review | 3 | 23 January 2020 | N/A |
| Rollover and Revision | 4 | 24 October 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.