| Title | Evaluate and troubleshoot soil strength tests in a civil engineering laboratory |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 6 |

| Purpose | People credited with this unit standard are able to, in a civil engineering laboratory: evaluate results of soil strength tests; and troubleshoot abnormal soil strength test scenarios and results. |
| --- | --- |

| Classification | Infrastructure Civil Engineering > Infrastructure Laboratory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable organisational and legislative requirements.

2	Applicable legislation, regulations, rules, standards and codes include but are not limited to: Health and Safety at Work Act 2015, Hazardous Substances and New Organisms Act 1996, and their associated regulations and subsequent amendments; ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available from https://www.iso.org/store.html;

NZS 4402:1986 Methods of testing soils for civil engineering purposes - Preliminary and general, available from https://www.standards.govt.nz/.

3	Evidence is required for two soil strength tests used in a civil engineering laboratory, which may include but are not limited to – California Bearing Ratio - remoulded, California Bearing Ratio - undisturbed, unconfined compressive strength - standard, unconfined compressive strength - autographic, laboratory shear vane, point load.

4	Definitions

Evaluate refers to interpreting test results in terms of the relevant test method, client processes and the project.  The evaluation must identify options for corrective action and the scientific basis for these corrective actions.  Components will vary between tests and include but are not limited to – the evaluation of task performance, compliance with organisational and test method requirements, from sample and equipment preparation to the calculation and reporting of results.

Organisational requirements refer to instructions to staff on policy and procedures which are formally documented or generally accepted at the worksite.  This may include legislation; industry standards and methods; national and international standards and methods; standard operating procedures; specifications; manuals; and manufacturer’s information.

Problem-solving techniques may include but are not limited to – cause and effect diagrams, hypothesis testing, appreciative enquiry, process flowchart analysis.

Scenario refers to an actual situation with contributing factors; these factors may include environment, conditions, materials, circumstances, location, relevance, site, context, status, workplace.

Troubleshoot refers to identifying problems in test scenarios and results, and to applying a problem-solving technique suitable to the problem in terms of the relevant test method, client processes, and project to reach a realistic solution.

5	It is recommended people hold Unit 26648, Perform soil strength tests in a civil engineering laboratory, or demonstrate equivalent knowledge and skills before being assessed against this unit standard.

Outcomes and performance criteria

- Outcome 1

- Evaluate results of soil strength tests in a civil engineering laboratory.

- Performance criteria

1.1	Results are evaluated for conformance.

- Range	may include but is not limited to – checking for correctness and completeness, validity, comparison to uncertainty, compliance with specifications and test method.

- Outcome 2

- Troubleshoot abnormal soil strength test scenarios and results in a civil engineering laboratory.

- Performance criteria

2.1	Abnormal test scenarios are troubleshot to identify the nature of the problem.

2.2	Problem-solving techniques are applied to reach a valid solution.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 January 2011 | 31 December 2016 |
| Review | 2 | 19 February 2015 | 31 December 2021 |
| Review | 3 | 23 January 2020 | N/A |
| Rollover and Revision | 4 | 24 October 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.