	NZQA unit standard
	26666 version 4

	
	Page 2 of 2



	Title
	Explain field investigation tests in a civil engineering laboratory

	Level
	5
	Credits
	15


	Purpose
	People credited with this unit standard are able to explain, in a civil engineering laboratory: field investigation test methods; and the application and reporting of field investigation test results.


	Classification
	Infrastructure Civil Engineering > Infrastructure Laboratory


	Available grade
	Achieved


Guidance Information
1
Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable organisational and legislative requirements.
2
Applicable legislation, regulations, rules, standards and codes include but are not limited to the: Health and Safety at Work Act 2015, Hazardous Substances and New Organisms Act 1996, and their associated regulations and subsequent amendments;
ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available from https://www.iso.org/store.html;
NZS 4402:1986 Methods of testing soils for civil engineering purposes - Preliminary and general, available from https://www.standards.govt.nz/;

NZS 4407:2015 Methods of sampling and testing road aggregates, available from https://standards.govt.nz;
TNZ T/01:1977 Standard Test Procedure for Benkelman Beam Deflection Measurements, available from https://www.nzta.govt.nz;
New Zealand Geotechnical Society (NZGS) Guideline for the Field Classification and Description of Soil and Rock for Engineering Purposes (December 2005), available from https://www.nzgs.org/.
3
Evidence is required for three field investigation tests used in a civil engineering laboratory, which may include but are not limited to – Nuclear Density Meter, Benkelman beam, shear vane, Scala penetrometer, soil and rock logging, cone penetrometer test, static penetrometer test, falling weight deflectometer, lightweight deflectometer, impact soil tester (clegg), sand circle, British pendulum, National Association of Australian Road Authority (NAASRA), grip tester, sand replacement, balloon densometer, core cutters, in situ California Bearing Ratio, plate bearing.
4
Definitions

Explain refers to describing the components within tests at a specialised technical scientific level and the relationships between them.  It may also include describing the interaction between tests in the context of the process or project for which the tests are being completed.  Components will vary between tests and may include but are not limited to – the project and/or process specifications, sample specifications, equipment requirements, environmental requirements, sequence of tests, units of measurement, limitations, suitability and uncertainty of measurement for the tests.  Explanations demonstrate an understanding of the scientific principles underpinning the test and the implications of test results on downstream client processes and projects.  Client processes refer to one or more of the client’s quality management, construction and production processes.
Organisational requirements refer to instructions to staff on policy and procedures which are formally documented or generally accepted at the worksite.  This may include legislation; industry standards and methods; national and international standards and methods; standard operating procedures; specifications; manuals; and manufacturer’s information.
Samples may include but are not limited to – prepared materials and test materials such as standards and reagents.
Outcomes and performance criteria
Outcome 1

Explain field investigation test methods in a civil engineering laboratory.

Performance criteria
1.1
The factors that can influence the outcomes of the test are explained in accordance with scientific principles.  
Range
may include but is not limited to – temperature, equipment, apparatus, material, technique, calibration, environment.

1.2
The quality assurance of the test is explained.
Range
may include but is not limited to – signatories, recording requirements.
Outcome 2

Explain the application and reporting of field investigation test results in a civil engineering laboratory.

Performance criteria
2.1
The application of test results is explained in terms of process implications.

Range
may include but is not limited to – out of specification results, in specification results, reporting.

2.2
The reporting requirements for test results are explained. 

Range
may include but is not limited to – equipment, apparatus, samples, technique, calibration, environment.

	Planned review date
	31 December 2025


Status information and last date for assessment for superseded versions

	Process
	Version
	Date
	Last Date for Assessment

	Registration
	1
	21 January 2011
	31 December 2016

	Review
	2
	19 February 2015
	31 December 2021

	Review
	3
	23 January 2020
	N/A

	Rollover and Revision
	4
	24 October 2024
	N/A


	Consent and Moderation Requirements (CMR) reference
	0101


This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do. 
Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.
	Waihanga Ara Rau Construction and Infrastructure Workforce Development Council

SSB Code 6046
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2024



