| Title | Install and service pneumatic or electro-pneumatic equipment |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: – install pneumatic or electro-pneumatic equipment; – test pneumatic or electro-pneumatic equipment; and – service pneumatic or electro-pneumatic equipment. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment in a workplace environment.

2	References

ANSI/ISA-51.1-1979 (R1993) Process Instrumentation Terminology;

Electricity Act 1992;

Electricity (Safety) Regulations 2010;

Health and Safety at Work Act 2015 and associated regulations;

ISSN 0114-0663, New Zealand Electrical Codes of Practice, available from Worksafe, https://worksafe.govt.nz/;

and all subsequent amendments and replacements.

3	Definitions

Industry requirements – includes all asset owner requirements; manufacturers’ specifications; enterprise requirements which cover the documented workplace policies, procedures, specifications, and business requirements; and quality management requirements relevant to the workplace in which the assessment is carried out.

Service – planned activity during normal operation, that involves, inspection, cleaning, testing, adjusting or making minor repairs to a piece of equipment to ensure that it works properly.

4	Range

Pneumatic or electro-pneumatic equipment – cylinders, control valves, pressure relief valves, pressure regulators, driers, boosters;

evidence of at least one type of equipment is required.

5	Recommended skills and knowledge: Unit 28083, Demonstrate knowledge of hydraulic and pneumatic control equipment used in industrial process control applications; and Unit 2630, Demonstrate knowledge of pressure measurement systems used in industry.

Outcomes and performance criteria

Outcome 1

Install pneumatic or electro-pneumatic equipment.

Performance criteria

1.1	Select devices according to process conditions and accuracy requirements of the installation.

Range	may include but is not limited to – pressure, flow, temperature, materials.

1.2	Install devices using selected materials.

Range	may include but is not limited to – tubing, piping, threading, mounting, sealants, isolation.

1.3	Commission pneumatic or electro-pneumatic equipment.

Range	may include but is not limited to – bleeding system, leak testing.

Outcome 2

Test pneumatic or electro-pneumatic equipment.

Performance criteria

2.1	Explain and follow safe work procedures.

Range	may include but is not limited to – process isolation, loop isolation.

2.2	Select test equipment according to accuracy and range of devices.

Range	may include but is not limited to – gauges, test set, electrical solenoid supply.

2.3	Identify type and cause of typical errors.

Range	may include but is not limited to – air leaks, solenoid failure.

2.4	Adjust devices, as specified by the data sheet.

2.5	Document test results in accordance with industry requirements.

Outcome 3

Service pneumatic or electro-pneumatic equipment.

Performance criteria

3.1	Locate, interpret, and apply technical information for servicing equipment.

3.2	Explain and follow safe work procedures.

Range	may include but is not limited to – process isolation, loop isolation.

3.3	Complete servicing of equipment to ensure continued operation.

Range	may include but is not limited to – tools, materials, parts, techniques, specifications.

3.4	Produce reports and documentation in accordance with industry requirements.

| Replacement information | This unit standard was replaced by skill standard 40235. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 October 1995 | 31 December 2013 |
| Revision | 2 | 30 October 1997 | 31 December 2013 |
| Revision | 3 | 3 April 2001 | 31 December 2013 |
| Review | 4 | 22 June 2001 | 31 December 2013 |
| Review | 5 | 19 May 2008 | 31 December 2019 |
| Review | 6 | 21 November 2013 | 31 December 2027 |
| Rollover and Revision | 7 | 28 June 2018 | 31 December 2027 |
| Review | 8 | 30 January 2025 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.