| Title | Explain field sampling and collect field samples for infrastructure civil works |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to explain field sampling and collect field samples for infrastructure civil works. |
| --- | --- |

| Classification | Infrastructure Works > Infrastructure Civil Works |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with relevant legislative and industry requirements.

2	Legislation relevant to this unit standard include: Health and Safety at Work Act 2015; and all subsequent amendments and replacements.

3	Definitions

Industry requirements refer to relevant policies, processes, methodologies, industry codes of practice, site specific health and safety plans, standard operating procedures, site safety plans, quality plans, work plans, traffic management plans, contract work programmes, job safety analysis, safe work method statements, job instructions, manufacturer’s requirements, contract specifications, manuals, procedural documents.

Technical instructions mean the defined procedures for the method of carrying out the construction process.  For this unit standard, they include procedures for meeting laboratory requirements for sampling.

Outcomes and performance criteria

Outcome 1

Explain field sampling for infrastructure civil works.

Performance criteria

1.1	The reasons for taking representative field samples are explained.

1.2	Methods for taking field samples are explained.

Range	at least two field samples in the context of the candidate’s employment.

1.3	Storage, naming, and recording of field samples are explained in accordance with technical instructions.

Range	at least two field samples in the context of the candidate’s employment.

Outcome 2

Collect field samples for infrastructure civil works.

Range	evidence is required of taking two field samples for at least one of – aggregate, soils, concrete.

Performance criteria

2.1	Field samples are taken in accordance with laboratory requirements.

2.2	Samples are labelled and recorded in accordance with laboratory requirements.

2.3	Samples are stored for future testing in accordance with laboratory requirements.

2.4	Field testing equipment and instruments are maintained in accordance with laboratory requirements.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 18 March 2011 | 31 December 2023 |
| Review | 2 | 19 February 2015 | 31 December 2023 |
| Review | 3 | 28 October 2021 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.