| Title | Complete survey requirements for the setout of medium buildings |
| --- | --- |
| Level | 5 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: prepare to perform surveying for the accurate setout of a medium building; use surveying instruments for the setout of a medium building; use survey data to provide other building site information; and establish base data and prepare a contour plan. |
| --- | --- |

| Classification | Construction > Construction Management |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Definitions

Medium buildings are light to medium weight commercial or industrial buildings up to three levels above ground which utilise commercial or industrial materials, construction techniques, and services.

Site documents refer to any official documentation for the site, and may include consents, contract, working drawings, plans and specifications, reports, producer statements, any relevant industry standards, or any other documentation critical to the construction process.

2	This unit standard may be assessed using a simulation.

3	Legislation relevant to this unit standard includes: Health and Safety in Employment Act 1992 and Health and Safety in Employment Regulations 1995.

Outcomes and performance criteria

Outcome 1

Prepare to perform surveying for the accurate setout of a medium building.

Performance criteria

1.1	Types of survey required for medium buildings are identified and responsibilities are determined.

Range	boundary survey, construction control survey, progressive surveying.

1.2	A site plan showing levels is prepared according to the constraints of the site.

1.3	Briefing notes on the requirements for the boundary survey and the construction control survey are prepared and the level of accuracy established.

1.4	Measuring and recording systems are selected in accordance with site requirements.

Outcome 2

Use surveying instruments for the setout of a medium building.

Performance criteria

2.1	Surveying instrument is set up and adjusted in accordance with manufacturer’s instructions.

Range	dumpy level, theodolite, laser.

2.2	Requirements for accuracy of measurements are established in accordance with site requirements.

2.3	Surveying instrument is used to take measurements for a run of levels in accordance with site documents and manufacturer’s instructions.

Range	setting up over a survey mark, using survey marks and profiles, taking linear and angular measurements, turning 90 degree angles, finding ground levels, changing station, setting levels, controlling verticality.

2.4	Surveying instruments are checked for accuracy in accordance with manufacturer’s instructions.

Outcome 3

Use survey data to provide other building site information.

Performance criteria

3.1	Calculations and drawings are prepared in accordance with tolerances stipulated in site documents.

Range	reduced levels, contour plans, volumes.

Outcome 4

Establish base data and prepare a contour plan.

Performance criteria

4.1	The site is represented on a plan grid pattern in accordance with site documents.

4.2	Grid heights are calculated from spot levels and a contour plan is drawn with contour heights at set levels in accordance with site documents.

4.3	Plans and cross sections are plotted and drawn to scale, and gradient is determined in accordance with site documents.

| Replacement information | This unit standard replaced unit standard 10925. |
| --- | --- |

This unit standard is expiring. Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 18 March 2011 | 31 December 2024 |
| Review | 2 | 26 May 2022 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.