| Title | Demonstrate knowledge of structural principles for building work |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of structural principles for building work. |
| --- | --- |

| Classification | Construction > Core Planning and Construction |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

For assessment against performance criterion 1.1, experiments may be physical or computer simulations.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of structural principles for building work.

Performance criteria

1.1	Basic structural principles are derived and described from experimentation.

Range	beam depth relative to span, compression/tension/neutral axis, characteristics of pin joints and rigid joints, the effects of point loads and uniformly distributed loads, cantilevers, methods of bracing including triangulation, element failure including buckling.

1.2	The effect of loading of common building elements is described in accordance with basic structural principles.

Range	beam, column, cantilever, wall, floor, truss.

1.3	The effect of loading of common building materials is described in accordance with basic structural principles.

Range	reinforced concrete beams, structural steel sections, timber.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 18 March 2011 | 31 December 2024 |
| Review | 2 | 25 August 2022 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.