| Title | Explain electrical regulations relevant to marina operation |  |  |
| --- | --- | --- | --- |
| Level | 2 | Credits | 5 |

| Purpose | People credited with this unit standard are able to explain electrical regulations relevant to marina operation. |
| --- | --- |

| Classification | Boating Industries > Marina Operations and Services |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Definitions

MEN refers to Multiple Earth Neutral.

Workplace policies and procedures refers to the documented procedures and 	policies providing guidelines of the tasks and activities carried out in the workplace. 	This typically includes relevant health and safety requirements to eliminate 	hazard/risk in the workplace.

- References

Legislation and standards.

Electricity (Safety) Regulations 2010 and any subsequent amendments, available at 	http://www.legislation.govt.nz.

New Zealand Electrical Code of Practice (NZECP) for Electrical Installations of Boat 	Marinas and Pleasure Vessels and any subsequent amendments, available at 	www.energysafety.govt.nz.

Outcomes and performance criteria

Outcome 1

Explain electrical regulations relevant to marina operation.

Performance criteria

1.1	The Electricity (Safety) Regulations 2010 are explained in terms of their requirements for connectable installations in boat marinas.

1.2	Requirements for the installation of low voltage supply to boat marinas and pleasure vessels are explained in accordance with NZECP.

1.3	Electrical warrant of fitness requirements is explained in accordance with 	NZECP and in terms of connection to marina power supply.

Range	boat marinas, pleasure vessels.

1.4	Wiring systems for boat marinas is explained in accordance with NZECP and in 	terms of connectable electrical installations.

Range	MEN switchboards, linked busbar switchboards, distribution 			switchboards, cables, supply lead.

| Planned review date | 31 December 2023 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 June 2011 | 31 December 2020 |
| Review | 2 | 31 May 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0136 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the NZ Marine and Composites ITO training@nzmarine.com if you wish to suggest changes to the content of this unit standard.