| Title | Demonstrate knowledge of marine electrical digital switching systems |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of marine electrical digital switching systems. |
| --- | --- |

| Classification | Boating Industries > Boatbuilding |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Assessment against this unit standard must be compliant with either –

(a)	AS/NZS 3004.2:2014 – Electrical installations – Marinas and boats; or

(b)	ISO 10133:2017 – Small craft – Electrical systems – Extra low voltage d.c. installations;

available at https://shop.standards.govt.nz/.

2	Definition

BUS refers to subsystem that transfers data between components in a computer or electronic system.  It may include Controller Area Network (CanBUS), or proprietary systems of electronic component manufacturers.

3	This unit standard applies to boats exceeding 14m with all electrical functions digitally switched.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of marine electrical digital switching systems.

Performance criteria

  - Communication BUS principals are explained for marine electrical digital switching system contexts.

  - Wiring and component connection principals are explained for marine electrical digital switching systems in accordance with AS/NZS 3004.

  - Electronic component control principals are explained for marine electrical digital switching systems in accordance with AS/NZS 3004.

  - Digital switching applications are described in terms of types of craft.

Range	evidence of four types of craft is required.

  - Digital switching systems are compared with analogue switching systems in terms of advantages and disadvantages.

  - Procedures for programming, commissioning, and troubleshooting of marine electrical digital switching systems are explained in accordance with AS/NZS 3004.

Range	evidence of four digital switching systems is required.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 May 2011 | 31 December 2022 |
| Review | 2 | 27 August 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0136 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the NZ Marine and Composites Industry Training Organisation training@nzmarine.com if you wish to suggest changes to the content of this unit standard.