| Title | Demonstrate knowledge of SCADA systems in the Electricity Supply power system |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 2 |

| Purpose | People credited with this unit standard are able to: describe the meaning of the term SCADA and the purpose, components and equipment used in a SCADA system; describe the operational functions that SCADA provides in a specific work area within a power system network; and describe the purpose of and read and interpret single line SCADA diagrams in the electricity supply power system. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Power System Management |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association, available at www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Data refers to information in a written or numerical form.  The latter may include summary statistics, information in tables, and numbers displayed in a variety of graphs.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which may include the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

SCADA – Supervisory Control and Data Acquisition system used for control, indication, and monitoring purposes.

Outcomes and performance criteria

Outcome 1

Describe the meaning of the term SCADA and the purpose, components and equipment used in a SCADA system.

Performance criteria

  - The meaning of each term in the abbreviation, SCADA, is described.

1.2	The purpose of a SCADA system in the electricity supply industry is described.

Range	includes but is not limited to – data acquisition, data communications, data presentation, control, alarm monitoring and diagnostics, security.

1.3	The main components and equipment that are used in a SCADA system are described.

Range	may include but is not limited to – field devices, remote telemetry units (RTU’s), programmable logic controllers (PLC’s), communication networks and interfaces, operator interfaces, I/O (input/output) sub systems, communication mediums and hardware, SCADA software;

evidence of five is required.

Outcome 2

Describe the operational functions that SCADA provides in a specific work area within a power system network.

Performance criteria

2.1	Types of information provided to the user is described.

Range	may include but is not limited to – alarms, events, faults, equipment states, switch positions, analogue measured values;

evidence of five types of information required.

2.2	Types of user contact encountered in using SCADA are described.

Range	may include but is not limited to – data monitoring and trending, activate control function, changing setpoints, tagging I/O, mapping I/O, response to alarms, operator interface functions;

evidence of three different types is required.

Outcome 3

Describe the purpose of and read and interpret single line SCADA diagrams in the electricity supply power system.

Performance criteria

3.1	The purpose of single line SCADA diagrams is described.

3.2	Symbols on the single line SCADA diagrams are identified and their meaning is explained.

Range	includes but is not limited to – animated graphics, colour standards, symbolic representation, I/O numbering, plant mimic diagrams;

evidence is required for five different types of symbols used in single line SCADA diagrams.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 April 2012 | 31 December 2022 |
| Review | 2 | 23 April 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

- Comments on this unit standard

Please contact Connexis – Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.