| Title | Demonstrate knowledge of the physical principles of instrumentation systems |
| --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of the physical principles of: – pressure measurement; – level measurement; – temperature measurement; – flow measurement; – density measurement. |
| --- | --- |

| Classification | Industrial Measurement and Control > Industrial Measurement and Control - Theory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

None.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of the physical principles of pressure measurement.

Performance criteria

1.1	Describe units used for pressure measurement.

Range	gauge pressure, absolute pressure, atmospheric pressure, bar, kilo Pascals (kPa), pounds per square inch (psi), millimetres of water (mmH2O), millimetres of mercury (mmHg), millibar (mbar).

1.2	Explain gas laws and perform calculations.

Range	gas laws – Boyle's Law, Charles' Law, General Gas Law.

1.3	Describe effects of liquid pressure head and perform calculations.

Range	level, manometers, head correction.

1.4	Use calculations and tables to convert pressure units.

Range	bar, kPa, psi, mmH2O, mmHg, mbar.

Outcome 2

Demonstrate knowledge of the physical principles of level measurement.

Performance criteria

2.1	Describe effects of liquid pressure head and perform calculations.

Range	level, manometers, head correction, density.

2.2	Use calculations and tables to convert pressure units used in level measurement.

Range	bar, kilo Pascals (kPa), pounds per square inch (psi), millimetres of water (mmH2O), millimetres of mercury (mmHg), millibar (mbar).

2.3	Explain Archimedes’ Principle as used in displacer level measurement.

Outcome 3

Demonstrate knowledge of the physical principles of temperature measurement.

Performance criteria

3.1	Define common temperature scales.

Range	centigrade (°C), fahrenheit (°F), kelvin (K), rankin (R).

3.2	Use calculations to convert units used in temperature measurement.

Range	°C, °F, K.

Outcome 4

Demonstrate knowledge of the physical principles of flow measurement.

Performance criteria

4.1	State the units for volumetric and mass flow measurement.

Range	cubic metres per second (m3(s), litres/sec (l/s), kilograms per second (kg/sec), pounds per hour (lb/hr), litres/minute(l/min), Normal cubic metres per hour (Nm3/hr), Standard cubic metres per hour (Sm3/hr), tonnes per hour (tonne/hr).

4.2	Define laws and equations relating to flow measurement and apply to calculations.

Range	Reynolds number, equation of continuity, Bernoulli's equation.

4.3	Describe pressure and temperature compensation required on oil, gas and mass flowmeters.

Range	turbine, vortex, orifice plate.

Outcome 5

Demonstrate knowledge of the physical principles of density measurement.

Performance criteria

5.1	Define terms and units used in density measurement and perform unit conversions by calculation.

Range	kilograms per cubic metre (kg/m³), relative density, specific gravity.

| Planned review date | 31 December 2021 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 November 2013 | N/A |
| Rollover and Revision | 2 | 28 June 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.