| # Title | Demonstrate knowledge of electrical power, energy, cost of consumption, and inductors and capacitors in AC circuits |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of: - electrical power, energy, and cost of consumption; - inductors and capacitors in AC circuits. This unit standard partially fulfils the requirements for registration for line mechanics with the Electrical Workers Registration Board. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Core Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- This unit standard underpins one of the capstone assessments for registration with the EWRB for Distribution Line Mechanics.

2	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable industry and legislative requirements.

3	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the:

- Health and Safety at Work Act 2015

- Electricity Act 1992

- Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements;

- Electricity supply industry codes of practice and documented enterprise procedures, including Electricity Engineers’ Association Safety Manual – Electricity Industry (SM-EI) (current version), and relevant EEA guides available from www.eea.co.nz.

4	Definitions

AC means alternating current.

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements and standards; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business and quality management requirements relevant to the workplace in which assessment is carried out.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of electrical power, energy, and cost of consumption.

Performance criteria

1.1	Electrical power is defined in terms of voltage, current, and resistance, with units and symbols stated.

1.2	Electrical energy is defined in terms of power and time taken, with units and symbols stated.

1.3	Costs of consumption of electrical energy are calculated from given data for simple domestic installations and expressed in kilowatt-hours and dollars.

Outcome 2

Demonstrate knowledge of inductors and capacitors in AC circuits.

Performance criteria

2.1	Characteristics and effects of inductors in AC circuits are described.

Range	inductive reactance, phase relationship between supply current and voltage.

2.2	Practical applications of inductors in AC circuits are described.

Range	current limiting, voltage control.

2.3	Characteristics and effects of capacitors in AC circuits are described.

Range	capacitive reactance, phase relationship between supply voltage and current.

2.4	Practical applications of capacitors in AC circuits are described.

Range	power factor correction, reducing of arcing, voltage control.

2.5	The dangers and safety requirements of using inductors and capacitors in AC power circuits are explained.

2.6	Impedance is defined in terms of the combined effects of resistance and reactance in an AC circuit.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 March 2014 | 31 December 2021 |
| Review | 2 | 28 November 2019 | 31 December 2023 |
| Review | 3 | 26 May 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.