| Title | Install pad and structure mounted electrical equipment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 8 |

| Purpose | People credited with this unit standard are able to: install pad mounted electrical equipment; and install structure mounted electrical equipment. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Distribution Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

| Prerequisites | Unit 10526, Operate electrical equipment associated with electric lines or cables up to 66kV; and Unit 31953, Operate light lifting and rigging equipment in the electricity supply environment; or demonstrate equivalent knowledge and skills. |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable industry and legislative requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association, available from www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Outcomes and performance criteria

Outcome 1

Install pad mounted electrical equipment.

Performance criteria

  - Installation method and pad arrangement are established, and services are located.

Range	underground and overhead services.

1.2	Hardware and electrical equipment are selected to match job pack specifications.

1.3	Electrical equipment is installed.

Range	includes but is not limited to – depth of pad, earthing to industry standards, pre-commissioning tests.

1.4	Completed work is reported concisely, in the required format, and within the scheduled time-frame.

Outcome 2

Install structure mounted electrical equipment.

Range	evidence of two types of equipment is required.

Performance criteria

2.1	Installation method and structure arrangement are established, and services are located.

Range	underground and overhead services.

2.2	Hardware is selected to match scope of work determined by asset owner.

2.3	Hardware and equipment are installed to match scope of work determined by asset owner.

2.4	Electrical equipment is earthed to meet the requirements of New Zealand Electrical Code of Practice 35.

2.5	Completed work is reported concisely, in the required format, and within the scheduled time-frame.

| Replacement information | This unit standard replaced unit standard 12298 and unit standard 18024. |
| --- | --- |

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 March 2014 | 31 December 2021 |
| Review | 2 | 28 November 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation at qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.