| Title | Demonstrate knowledge of instruments used in the energy and chemical industry |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | This unit standard is intended for people working as boiler operators and energy and chemical process operators in an energy and chemical plant. People credited with this unit standard are able to demonstrate knowledge of instruments used in the energy and chemical industry. |
| --- | --- |

| Classification | Energy and Chemical Plant > Monitoring of Energy and Chemical Plant |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

None.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of instruments used in the energy and chemical industry.

Performance criteria

1.1	Describe pressure indicating instruments in terms of their design and operating concepts.

Range	evidence of four types of instrument is required.

1.2	Describe the relationship between unit measures used for indicating pressure in terms of conversion between these unit measures.

Range	units include but are not limited to – pounds per square inch, bar absolute, bar gauge, kilopascal, millimetres of water, atmospheres.

1.3	Describe temperature indicating instruments in terms of their design and operating concepts.

Range	evidence of four types of instrument is required.

1.4	Describe the relationship between Fahrenheit and Celsius in terms of conversion between these unit measures.

1.5	Describe level measurement instruments in terms of their design and operating concepts.

Range	evidence of four types of instrument is required.

1.6	Describe flow measurement instruments in terms of their design and operating concepts.

Range	evidence of four types of instrument is required.

| Replacement information | This unit standard replaced unit standard 3054. This unit standard was replaced by skill standard 40356. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 24 October 2014 | 31 December 2022 |
| Review | 2 | 27 February 2020 | 31 December 2026 |
| Review | 3 | 30 January 2025 | 31 December 2026 |

| Consent and Moderation Requirements (CMR) reference | 0079 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.