	NZQA Expiring unit standard
	28160 version 3

	
	Page 1 of 2




	Title
	Operate geothermal steam-field equipment and processes in an energy and chemical plant

	Level
	4
	Credits
	20


	Purpose
	This unit standard is intended for people working as boiler operators and energy and chemical process operators in an energy and chemical plant.

People credited with this unit standard are able to operate geothermal steam-field equipment and processes in an energy and chemical plant.


	Classification
	Energy and Chemical Plant > Operation of Energy and Chemical Plant


	Available grade
	Achieved


Guidance Information

1
Legislation relevant to this unit standard includes but is not limited to:

· Health and Safety at Work Act 2015;

· Hazardous Substances and New Organisms Act 1996;

· Resource Management Act 1991;

and any subsequent amendments.

2 Definitions

Energy and chemical plant may be in – petrochemical, agri-nutrient, power generation, dairy processing, meat processing, and wood fibre manufacturing, or other plants that operate with a combination of high temperatures, pressures, steam and/or chemicals in gas, liquid or solid form.
Organisational requirements – documented policies and procedures.  These may include: equipment manufacturers’ procedures; plant procedures; suppliers’ instructions; site signage; codes of practice; company health and safety plans; on site briefings; and supervisor’s instructions.  This includes all regulatory and legislative obligations that apply to the plant.

Plant – the operational unit, equipment and/or workplace at which the person is working.

3 For the purposes of assessment:

· evidence for this unit standard must be supplied from the workplace.

· evidence must be presented in accordance with organisational requirements.

Outcomes and performance criteria
Outcome 1

Operate geothermal steam-field equipment and processes in an energy and chemical plant.

Performance criteria
1.1
Identify hazards associated with working in a geothermal steam-field operation and apply steps to minimise the risk.

Range
evidence of a minimum of five hazards is required.

1.2
Locate and apply procedures for entering the geothermal steam-field.

1.3
Identify and describe consents associated with the operation of the geothermal steam-field in terms of their requirements for a site.

Range
requirements may include but are not limited to – total production, reinjection, discharges to air, water and ground, noise.

1.4
Locate and carry out well operating procedures.

Range
procedures may include but are not limited to – vent gas cap, warm up, place on bleed, bring on-line, shut in, isolate, de-isolate down-hole testing;


evidence of at least five is required.

1.5
Locate and carry out plant equipment operating procedures.

Range
plant equipment may include but is not limited to – steam field pipeline/production/ reinjection, separator, scrubber, dump station, vent station;

evidence of at least five is required.

procedures may include but are not limited to – de-isolate, warm up, bring on-line, take out of service, isolate, test protection and protective devices, cross country pipeline warming, pipelines with low points, precautions against water hammer;


evidence of at least five is required.
1.6
Carry out routine inspections and tasks.

1.7
Identify, investigate, record and report geothermal steam-field equipment faults and corrective actions taken.

	Replacement information
	This unit standard was replaced by skill standard 40447. 

This unit standard and unit standard 28159 replaced unit standard 17607.


This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.
Status information and last date for assessment for superseded versions

	Process
	Version
	Date
	Last Date for Assessment

	Registration
	1
	24 October 2014
	31 December 2022

	Review
	2
	27 February 2020
	31 December 2027

	Review
	3
	24 April 2025
	31 December 2027


	Consent and Moderation Requirements (CMR) reference
	0079


This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

	Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council 

SSB Code 6049 
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2025



