| Title | Describe rapid analytical laboratory instruments and conduct tests in a primary products food processing operation |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to describe: rapid chemistry laboratory instruments, and rapid microbiological laboratory instruments; and set up rapid technique micro-test instruments, and conduct rapid technique tests, in a primary products food processing operation. |
| --- | --- |

| Classification | Primary Products Food Processing > Primary Products Food Processing - Operational Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Legislation and standards relevant to this unit standard include but are not limited to:

- Hazardous Substances and New Organisms Act 1996;

- Health and Safety at Work Act 2015;

- Health and Safety in Employment Regulations 1995;

- Resource Management Act 1991;

- NZS ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories; available at http://www.standards.co.nz

and any subsequent amendments.

2	Definitions

Organisational requirements – instructions to staff on policies and procedures which are documented in memo, electronic or manual format and are available in the workplace.

Primary products food processing operation – covers a meat, dairy, seafood, fruit and vegetable and honey processing, food and beverage manufacturing, and other related industries.

3	All evidence presented in this unit standard must be in accordance with organisational requirements.

Outcomes and performance criteria

Outcome 1

Describe rapid chemistry laboratory instruments in a primary products food processing operation.

Performance criteria

  - Describe near infra-red principles in terms of rapid technique instruments.

  - Describe rapid technique instruments in terms of food products that they test.

Range	evidence of two instruments from the learner’s workplace is required.

Outcome 2

Describe rapid microbiological laboratory instruments in a primary products food processing operation.

Range	rapid microbiological laboratory instruments may include but are not limited to – Polymerase Chain Reaction (PCR), Adenosine Triphosphate (ATP), Maldi-Tof, Enzyme-linked Immunoassay (ELISA), Charles River & Petrifilm;

examples of two instruments are required

Performance criteria

2.1	Describe the theory of rapid technique instruments.

2.4	Describe the rapid technique instruments in terms of their application and expected results.

Outcome 3

Set up rapid technique micro-test instruments, and conduct rapid technique tests in a primary products food processing operation.

Performance criteria

3.1	Set up rapid technique micro-test instruments in accordance with manufacturer’s instructions.

3.2	Conduct rapid technique tests.

Range	evidence of two tests is required.

3.3	Report and follow up any non-conformance.

| Replacement information | This unit standard replaced unit standard 4313. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 September 2015 | 31 December 2021 |
| Review | 2 | 24 October 2019 | 31 December 2024 |
| Reinstatement | 3 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0033 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Hanga-Aro-Rau Manufacturing, Engineering, and Logistics Workforce Development Council qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.