| Title | Describe and use handheld laboratory instruments in a primary products food processing operation |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: describe the principles of operation of handheld laboratory instruments; calibrate handheld laboratory instruments and apply correction factors; use handheld laboratory instruments to carry out tests; and record laboratory test results, in a primary products food processing operation. |
| --- | --- |

| Classification | Primary Products Food Processing > Primary Products Food Processing - Operational Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Legislation and standards relevant to this unit standard include but are not limited to:

- Hazardous Substances and New Organisms Act 1996;

- Health and Safety at Work Act 2015;

- Health and Safety in Employment Regulations 1995;

- Resource Management Act 1991;

- NZS ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available at http://www.standards.co.nz;

and any subsequent amendments.

2	Definitions

Organisational requirements – instructions to staff on policies and procedures which are documented in memo, electronic or manual format and are available in the workplace.

Primary products food processing operation – covers a meat, dairy, seafood, fruit and vegetable and honey processing, food and beverage manufacturing, and other related industries.

3	All evidence presented in this unit standard must be in accordance with company requirements.

Outcomes and performance criteria

Outcome 1

Describe the principles of handheld laboratory instruments in a primary products food processing operation.

Performance criteria

  - Describe the function and purpose of each instrument in terms of the technology used.

  - Describe maintenance procedures in terms of manufacturer’s specifications.

  - Describe calibration procedures in terms of manufacturer’s specifications.

  - Describe quality control checks in terms of types and causes of typical errors.

Outcome 2

Calibrate handheld laboratory instruments and apply correction factors in a primary products food processing operation.

Performance criteria

2.1	Zero and calibrate instruments and determine correction factors in accordance with manufacturer’s specifications.

2.2	Apply correction factors to test results.

Outcome 3

Use handheld laboratory instruments to carry out tests in a primary products food processing operation.

Range	handheld laboratory instruments may include but are not limited to – probe, refractometer, thermometer, thermocouple.

evidence is required for one probe and one other instrument.

Performance criteria

3.1	Connect instruments and select settings in accordance with manufacturer’s specifications.

3.2	Take measurements.

3.3	Operate instruments using personal protective equipment and safety procedures.

3.4	Maintain instruments in accordance with manufacturer’s specifications.

Outcome 4

Record laboratory test results in a primary products food processing operation.

Performance criteria

4.1	Record laboratory test results.

4.2	Review results and report any non-conformance.

| Replacement information | This unit standard replaced unit standard 21990. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 September 2015 | 31 December 2021 |
| Review | 2 | 24 October 2019 | 31 December 2024 |
| Reinstatement | 3 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0033 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Hanga-Aro-Rau Manufacturing, Engineering, and Logistics Workforce Development Council qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.