| Title | Describe, calibrate, and maintain laboratory test equipment in a primary products food processing operation |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: describe the principles of operation for laboratory test equipment; prepare laboratory test equipment items for calibration; perform calibrations on laboratory test equipment; record and document laboratory test results; and maintain laboratory test equipment, in a primary products food processing operation. |
| --- | --- |

| Classification | Primary Products Food Processing > Primary Products Food Processing - Operational Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Legislation and references relevant to this unit standard include but are not limited to:

- Hazardous Substances and New Organisms Act 1996;

- Health and Safety at Work Act 2015;

- Health and Safety in Employment Regulations 1995;

- Resource Management Act 1991;

- ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, and any subsequent amendments. Available at http://www.standards.co.nz;

- Definitions

Organisational requirements – instructions to staff on policies and procedures which are documented in memo, electronic or manual format and are available in the workplace.

Primary products food processing operation – covers a meat, dairy, seafood, fruit and vegetable and honey processing, food and beverage manufacturing and other related industries.

- Laboratory test equipment may include but is not limited to – autotitrators, Karl Fischer titrators, Kjeldahl protein instruments, spectrophotometers;

evidence is required of two pieces of equipment.

4	All evidence presented in this unit standard must be in accordance with organisational requirements.

Outcomes and performance criteria

Outcome 1

Describe the principles of operation for laboratory test equipment in a primary products food processing operation.

Performance criteria

  - Describe the principles of operation for laboratory test equipment in terms of the technology used.

  - Describe maintenance procedures in terms of manufacturer’s specifications.

  - Describe calibration procedures in terms of manufacturer’s specifications.

  - Describe quality control checks in terms of types and causes of typical errors.

Outcome 2

Prepare laboratory test equipment items for calibration in a primary products food processing operation.

Performance criteria

2.1	Select authorised calibration procedure in accordance with organisational requirements.

2.2	Identify hazards, and use the appropriate personal protective equipment, safety equipment and procedures.

2.3	Assemble, set up and adjust or calibrate specified reference standards and measuring equipment.

2.4	Confirm measuring equipment as meeting the laboratory’s specification requirements and complying with the calibration procedure.

2.5	Identify and minimise potential sources of measurement error.

Outcome 3

Perform calibrations on laboratory test equipment in a primary products food processing operation.

Performance criteria

3.1	Perform individual tests within acceptable variance to ensure repeatability of measurement.

3.2	Confirm readings as being the result of a valid measurement and record data.

3.3	Adjust instruments under calibration to bring readings within specification and record data.

3.4	Analyse resulting test data to detect trends or inconsistencies that would significantly affect the accuracy or validity of the test results.

Outcome 4

Record and document laboratory test results in a primary products food processing operation.

Performance criteria

4.1	Report and document compliance or non-compliance with requirements of the test and/or specifications.

4.2	Record results of each test.

4.3	Attach where required calibration labels, equipment stickers, quality control tags and seals.

Outcome 5

Maintain laboratory test equipment in a primary products food processing operation.

Performance criteria

5.1	Identify maintenance procedures and records.

5.2	Maintain equipment, facilities, reference standards and stocks of consumables.

5.3	Plan and evaluate maintenance.

5.4	Identify, document and report maintenance needed for faulty or damaged equipment.

| Replacement information | This unit standard replaced unit standard 21988. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 September 2015 | 31 December 2024 |
| Review | 2 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0033 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Hanga-Aro-Rau Manufacturing, Engineering, and Logistics Workforce Development Council qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.