| Title | Describe and carry out product testing in a laboratory in a primary products food processing operation |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | People credited with this unit standard are able to: describe the principles, critical stages, and variables, of product tests performed in a laboratory on food products; perform product tests on food products in a laboratory; and interpret and report calculation results of product tests in a laboratory on food products, in a primary products food processing operation. |
| --- | --- |

| Classification | Primary Products Food Processing > Primary Products Food Processing - Operational Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance information

- Legislation and standards relevant to this unit standard include but are not limited to:

- Hazardous Substances and New Organisms Act 1996;

- Health and Safety at Work Act 2015;

- Health and Safety in Employment Regulations 1995;

- Resource Management Act 1991;

- ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available at http://www.standards.co.nz;

and any subsequent amendments.

- Definitions

Organisational requirements – instructions to staff on policies and procedures which are documented in memo, electronic or manual format and are available in the workplace.

Primary products food processing operation – covers a meat, dairy, seafood, fruit and vegetable and honey processing, food and beverage manufacturing and other related industries.

- Product tests may include but are not limited to – fat tests, physical tests, functional tests, protein tests;

evidence is required of four different product tests.

4	All evidence presented in this unit standard must be in accordance with organisational requirements.

Outcomes and performance criteria

Outcome 1

Describe the principles, critical stages, and variables, of product tests performed in a laboratory on food products in a primary products food processing operation.

Performance criteria

  - Describe the principles of product tests in terms of technology, reactions and processes involved.

  - Describe critical stages of product tests in terms of their function.

Range	critical stages may include but are not limited to – media preparation, sample preparation, test preparation, testing, reading and data input, confirmation;

evidence of three critical stages is required.

  - Describe variables of product tests in terms of the process for eliminating variables.

Range	variables may include but are not limited to – equipment, apparatus, reagents, sample, technique, contamination, calibration, and environment;

evidence of three variables is required.

  - Describe quality assurance of product tests.

Range	quality assurance includes but is not limited to – blanks, repeatability, and reproducibility.

Outcome 2

Perform product tests on food products in a laboratory in a primary products food processing operation.

Performance criteria

2.1	Prepare samples and equipment in accordance with manufacturer’s specifications.

2.2	Perform product tests on food products.

2.3	Use personal protective equipment and safety procedures.

2.4	Check test results for consistency with precision requirements.

2.5	Clean and store test equipment.

Outcome 3

Interpret and report calculation results of product tests in a laboratory on food products in a primary products food processing operation.

Performance criteria

3.1	Interpret and report calculations on food products tested in terms of conformance.

3.2	Record results and perform calculations.

3.3	Identify any tested food product non-conformance and corrective action is taken.

| Replacement information | This unit standard replaced unit standard 22002, unit standard 22044 and unit standard 22444. |
| --- | --- |

| Planned review date | 31 December 2026 |
| --- | --- |

Last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 17 September 2015 | 31 December 2024 |
| Review | 2 | 24 March 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0033 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Hanga-Aro-Rau Manufacturing, Engineering, and Logistics Workforce Development Council qualifications@hangaarorau.nz if you wish to suggest changes to the content of this unit standard.