| Title | Apply mathematical methods to testing in a civil engineering laboratory |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | People credited with this unit standard are able to apply mathematical methods to testing in a civil engineering laboratory. |
| --- | --- |

| Classification | Infrastructure Civil Engineering > Infrastructure Laboratory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Assessment against performance criterion 1.1 must be based on evidence from a laboratory spreadsheet.  Evidence for the balance of Outcome 1 must include working formulae.

2	Definition

Spreadsheet refers to an automatically calculating input/output worksheet such as Microsoft Excel, Laboratory Information Management System (LIMS), programmable calculator, or other software programmes.

Outcomes and performance criteria

Outcome 1

Apply mathematical methods to testing in a civil engineering laboratory.

Performance criteria

1.1	Laboratory spreadsheet data is validated using manual calculations.

Range	spreadsheets from three different test methods.

1.2	Physical quantities are calculated and expressed in metric and imperial units.

Range	physical quantities – area, volume, density, force, stress;

four different units showing working formulae.

1.3	Calculations of statistical information are performed from inter-lab proficiency test data.

Range	statistical information includes but is not limited to – mean, standard deviation, mode, median, range;

one inter-lab proficiency test.

1.4	A distribution plot is produced from inter-lab proficiency test data.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 February 2015 | 31 December 2021 |
| Review | 2 | 23 January 2020 | N/A |
| Rollover | 3 | 24 October 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.