| Title | Perform concrete tests in a civil engineering laboratory |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 16 |

| Purpose | People credited with this unit standard are able to perform concrete tests in a civil engineering laboratory. |
| --- | --- |

| Classification | Infrastructure Civil Engineering > Infrastructure Laboratory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable organisational and legislative requirements.

2	Applicable legislation, regulations, rules, standards and codes include but are not limited to: Health and Safety at Work Act 2015, Hazardous Substances and New Organisms Act 1996, and their associated regulations and subsequent amendments;

ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available from https://www.iso.org/store.html;

NZS 3112.1:1986 Methods of test for concrete - Tests relating to fresh concrete,

NZS 3112.2:1986 Methods of test for concrete - Tests relating to the determination of strength of concrete, NZS 3112.3:1986 Methods of test for concrete - Tests on hardened concrete other than for strength; NZS 3112.4:1986 Methods of test for concrete - Tests relating to grout, available from https://www.standards.govt.nz/.

3	Evidence is required for two tests on fresh concrete and two tests on hardened concrete.

Tests for fresh concrete may include but are not limited to – Yield, Air Content, Slump, Spread, Unit Mass.

Tests for hardened concrete may include but are not limited to -- Compression Strength, Flexural Strength, Density, Moulding of Cylinders, Splitting Tensile.

4	Definitions

Organisational requirements refer to instructions to staff on policy and procedures which are formally documented or generally accepted at the worksite.  This may include legislation; industry standards and methods; national and international standards and methods; standard operating procedures; specifications; manuals; and manufacturer’s information.

Perform refers to completing the individual components of the test sequentially in terms of the relevant test method and organisational requirements.  Components will vary between tests and include but are not limited to – the completion of tasks from sample and equipment preparation to the calculation and reporting of results.  Perform does not include the evaluation or the troubleshooting of tests.

5	It is recommended people achieve Unit 28720, Describe concrete tests in a civil engineering laboratory, or demonstrate equivalent knowledge and skills, before being assessed against this unit standard.

Outcomes and performance criteria

Outcome 1

Perform concrete tests in a civil engineering laboratory.

Performance criteria

1.1	Samples and test equipment are prepared.

1.2	Tests are performed.

1.3	Test measurements are checked to be within precision.

1.4	Test equipment is maintained and stored.

1.5	Results are recorded, and calculations are performed.

Range	may include but is not limited to – sample site, sample description.

1.6	Results are reported.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 February 2015 | 31 December 2021 |
| Review | 2 | 23 January 2020 | N/A |
| Rollover | 3 | 24 October 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.