| Title | Design, plan and manage the construction of a hydrometric station |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 15 |

| Purpose | This unit standard is intended for people who will design, plan and install a hydrometric station. People credited with this unit standard are able to: scope and design a hydrometric station; develop a construction plan and manage the construction of a hydrometric station. |
| --- | --- |

| Classification | Water Industry > Field Hydrology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Legislation relevant to this unit standard includes but is not limited to:

- Building Act 2004;

- Resource Management Act 1991;

- Health and Safety at Work Act 2015.

- The construction of a station must be planned and designed in accordance with:

- National Environmental Monitoring Standards (NEMS);

- organisational procedures.

The complete list of NEMS can be found on the NEMS website www.nems.org.nz.

3	The hydrometric station must include one of either: water level or rainfall, and must be of a scale that requires design and planning.

4	It is recommended that candidates complete Unit 28800, Operate and maintain hydrometric stations, before commencing this unit standard.

5	Definition

Organisational procedures refer to the policies and procedures set out in a verbal or written form by the employer or organisation. Procedures must be consistent with current legislative requirements and manufacturer’s recommendations or instructions where relevant.

Outcomes and performance criteria

Outcome 1

Scope and design a hydrometric station.

Performance criteria

  - Scope station purpose and carry out stakeholder consultation to inform user requirements.

  - Evaluate site options and select the most suitable for station placement and to meet user requirements.

Range	evaluation must include – catchment hydrology, river morphology, and access permissions, as applicable.

  - Investigate site conditions, and record relevant measurements and characteristics for station placement.

Range	must include – access, hazards, communications, power availability.

  - Evaluate options for the selected site, taking into account purpose, requirements and budget.

Range	must include – structures, instrumentation.

  - Consult on the draft design, and prepare financial estimates for hydrometric station construction.

Range	consultation may include but is not limited to – local authorities, engineers, managers, land owners and occupiers, iwi authorities and stakeholders.

  - Gain approval of the station design and location.

Outcome 2

Develop a construction plan for a hydrometric station.

Performance criteria

  - Develop a construction plan.

  - Develop a project health and safety plan for the construction plan in accordance with organisational procedures.

  - Consult on the complete plans.

Outcome 3

Manage the construction of a hydrometric station.

Performance criteria

3.1	Confirm the design and plans for the construction of the station.

3.2	Source materials, test instrumentation and allocate resources as required.

3.3	Manage the construction of the station in accordance with the station design and construction plan.

3.4	Commission the station.

3.5	Compile station metadata and file according to organisational procedures.

Range	metadata must include – station records, legal documents, as-built plans, site references.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 May 2015 | 31 December 2022 |
| Review | 2 | 24 October 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0232 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Primary Industry Training Organisation standards@primaryito.ac.nz if you wish to suggest changes to the content of this unit standard.