| Title | Measure and calculate suspended sediment load |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 15 |

| Purpose | This unit standard is intended for people who will measure and calculate suspended sediment load in rivers and streams. People credited with this unit standard are able to: measure suspended sediment concentration using depth-integrated methods; operate and maintain a continuous suspended sediment sampler or surrogate sensor; and calculate suspended sediment load. |
| --- | --- |

| Classification | Water Industry > Field Hydrology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Legislation relevant to this unit standard includes but is not limited to:

- Health and Safety at Work Act 2015.

- Suspended sediment discharge measurements must be performed, along with collecting continuous suspended sediment concentration or surrogate data, in accordance with:

- National Environmental Monitoring Standards (NEMS);

- organisational procedures.

The complete list of NEMS can be found on the NEMS website www.nems.org.nz.

3	Candidates must collect 10 depth-integrated suspended sediment samples from rivers or streams, over a minimum of two independent occasions, then derive the corresponding measurement results, to achieve this unit standard

4	It is recommended that candidates complete Unit 28802, Carry out discharge measurement by wading; Unit 28803, Carry out discharge measurements using a range of platforms and methods; and Unit 28806, Construct, apply, evaluate and store hydrometric rating curves, before commencing this unit standard.

5	Definition

Organisational procedures refer to the policies and procedures set out in a verbal or written form by the employer or organisation.  Procedures must be consistent with current legislative requirements and manufacturer’s recommendations or instructions where relevant.

Outcomes and performance criteria

Outcome 1

Measure suspended sediment concentration using depth-integrated methods.

Performance criteria

  - Identify appropriate sites for the purpose of measurement.

  - Select appropriate equipment and perform pre-deployment checks.

  - Determine sampling locations, parameters and decide methodology.

  - Carry out the measurement and record all relevant observations.

  - Perform post-deployment checks, take remedial action as required, and record results.

  - Transfer samples to laboratory using preservation and custody protocols.

Outcome 2

Operate and maintain a continuous suspended sediment sampler or surrogate sensor.

Performance criteria

  - Verify equipment performance, and retrieve data or samples.

  - Obtain manual readings or samples, and record relevant details.

  - Investigate any equipment faults, or discrepancies between manual readings and logged data, and carry out or plan remedial action.

  - Complete maintenance and repairs.

  - Document and report verification outcomes for equipment performance and received data or samples.

  - Transfer samples to laboratory using preservation and custody protocols.

  - Collate, reconcile, process and store data and results according to organisational procedures.

Outcome 3

Calculate suspended sediment load.

Performance criteria

3.1	Collate laboratory results and flow information.

3.2	Calculate cross-section mean suspended sediment concentrations using flows and results from depth-integrated measurements.

3.3	Evaluate and determine the relationship between sediment concentration, and other parameters.

Range	must include two of the three parameters – flow, turbidity, acoustic back-scatter measurements.

3.4	Correlate cross-section mean concentrations with continuously monitored concentrations or surrogates to obtain suspended sediment load.

3.5	File all results and metadata.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 May 2015 | 31 December 2022 |
| Review | 2 | 24 October 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0232 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Primary Industry Training Organisation standards@primaryito.ac.nz if you wish to suggest changes to the content of this unit standard.