| Title | Present hydrometric data reviews and provide information for users |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 10 |

| Purpose | This unit standard is intended for people who will analyse hydrometric data to provide quality assured information for users. People credited with this unit standard are able to: present statistical summaries and analysis of data, as part of a quality management system; and provide quality assured information for users. |
| --- | --- |

| Classification | Water Industry > Field Hydrology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Data reviews and provision of information for end users must be performed in accordance with:

- National Environmental Monitoring Standards (NEMS);

- organisational procedures.

The complete list of NEMS can be found on the NEMS website www.nems.org.nz.

2	For the purposes of this unit standard information is data in context.

3	Three data reviews of which one has to be a flow time series of five years with multiple rating curves.

4	Definition

Organisational procedures refer to the policies and procedures set out in a verbal or written form by the employer or organisation.  Procedures must be consistent with current legislative requirements and manufacturer’s recommendations or instructions where relevant.

Outcomes and performance criteria

Outcome 1

Present statistical summaries and analysis of data, as part of a quality management system.

Performance criteria

  - Compile a set of statistical summaries and graphical presentations of hydrometric data.

  - Analyse information about processes from each station that may help to identify anomalies in the data not previously detected or adequately explained.

  - Take remedial action to correct anomalies in data.

Outcome 2

Provide quality assured information for users.

Performance criteria

  - Determine a user’s requirements for reporting information.

  - Describe organisational licensing and data release policies for a user.

  - Provide the information to a user, in the appropriate form, with all relevant metadata, including explanation of data quality status.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 May 2015 | 31 December 2022 |
| Review | 2 | 24 October 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0232 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Primary Industry Training Organisation standards@primaryito.ac.nz if you wish to suggest changes to the content of this unit standard.