| Title | Demonstrate knowledge of special hazards fire detection and alarm systems and installation practices |
| --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | This unit standard is for the training of fire alarm technicians, and covers knowledge of operating principles and installation practices of special hazards fire detection and alarm systems. People credited with this unit standard are able to, for special hazards fire detection and alarm systems, demonstrate knowledge of: legislation, standards, and codes; input and output devices; conventional control equipment; addressable systems; special hazards fire detection and alarm systems; and wiring requirements and procedures. |
| --- | --- |

| Classification | Mechanical Engineering > Fire Detection and Alarm Systems |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Explanatory notes

1	References

Building Act 2004

Ministry of Business, Innovation and Employment (MBIE) Acceptable Solutions (AS) and Verification Methods (VM).  Available at http://www.dbh.govt.nz/AS/VM-documents

Electricity Act 1992

Electricity Regulations 1997

New Zealand Building Code

AS/NZS 3000:2007, Electrical Installations (known as the Australian/New Zealand Wiring Rules)

NZS 4512:2010, Fire Detection and Alarm Systems in Buildings.

2	Definitions

Fire detection and alarm system refers to an installation of apparatus, which performs specified fire related functions in response to the operation of a detector, manual call point, or other input.  It includes manual call points, detectors, control and indication equipment, alerting devices, interconnections, fittings, labels, energy sources, and remote signalling devices and may include emergency warning and intercommunication systems (EWIS) where applicable.

Special hazards fire detection and alarm system refers to fire detection and alarm systems which apply electrical actuation to operate mechanical extinguishing systems.  It includes water based, chemical, and clean agent gas flood installations.

Standards refer to NZS 4512:2010, ANS/NZS 3000:2007 and to standards relevant to special hazards systems.

Systems documentation refers to the documentation required to be maintained by NZS 4512:2010 and other relevant standards, including log book, test reports, equipment details and drawings, specifications, contract agreement, software configurations and versions, additions and alterations, contract agreement, fire reports, building consents standards, codes of practice, installation instructions, test and commissioning procedures, test and maintenance records.

3	Assessment

Use of NZS 4512:2010 and AS/NZS 3000:2007 by candidates during assessment is encouraged.

Outcomes and evidence requirements

Outcome 1

Demonstrate knowledge of legislation, standards, and codes relevant to the installation of special hazards fire detection and alarm systems.

Evidence requirements

1.1	Acts, regulations, standards, and codes relevant to the installation of special hazards fire detection and alarm systems are identified and the purpose of each is stated.

1.2	The relationships between acts, regulations, standards, and codes relevant to special hazards fire detection and alarm system installation are outlined.

Outcome 2

Demonstrate knowledge of input and output devices for special hazards fire detection and alarm systems.

Range	input and output devices – conventional, addressable.

Evidence requirements

2.1	Principles of operation of devices are explained in accordance with device specifications.

2.2	Installation procedures and requirements for devices are identified and described in accordance with the standards.

Outcome 3

Demonstrate knowledge of conventional control equipment for special hazards fire detection and alarm systems.

Evidence requirements

3.1	Principles of operation of control equipment are explained with reference to functional units, input and output devices, adjustments, and maintenance facilities.

3.2	Installation procedures and requirements for control equipment are identified and described in accordance with the standards.

3.3	Block schematics for typical control systems are sketched showing functional units, input and output devices, and power supplies.

Outcome 4

Demonstrate knowledge of addressable special hazards fire detection and alarm systems.

Evidence requirements

4.1	Principles of operation of addressable systems are explained with the aid of block schematic diagrams, and with reference to functional units, protocols, and features including programme access, storage, and maintenance facilities.

4.2	Differences in installation practices compared to conventional systems are identified.

Outcome 5

Demonstrate knowledge of special hazards fire detection and alarm systems.

Range	gas flood systems, pre-action, deluge.

Evidence requirements

5.1	Principles of operation of control panels are explained with reference to functional units, input and output devices, adjustments, and maintenance facilities.

5.2	Block schematics of typical systems are sketched showing functional units, input and output devices, power supplies and any interfaces with other building services and systems.

5.3	The operations of stage one and stage two alarms are described in accordance with systems documentation.

5.4 	Precautions and health and safety aspects that need to be considered prior to commencement of testing systems are identified and described.

Outcome 6

Demonstrate knowledge of wiring requirements and procedures for special hazards fire detection and alarm systems.

Evidence requirements

6.1	Cables used in conjunction with special hazards fire detection and alarm systems are identified.

Range	cables – power cables, cables for input and output devices.

6.2	The requirements of AS/NZS 3000:2000 and NZS 4512:2003 in relation to cabling of special hazards fire detection and alarm systems are identified.

| Planned review date | 31 December 2020 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 15 October 2015 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Please note

Providers must be granted consent to assess against standards (accredited) by NZQA, before they can report credits from assessment against unit standards or deliver courses of study leading to that assessment.

Industry Training Organisations must be granted consent to assess against standards by NZQA before they can register credits from assessment against unit standards.

Providers and Industry Training Organisations, which have been granted consent and which are assessing against unit standards must engage with the moderation system that applies to those standards.

Requirements for consent to assess and an outline of the moderation system that applies to this standard are outlined in the Consent and Moderation Requirements (CMRs).  The CMR also includes useful information about special requirements for organisations wishing to develop education and training programmes, such as minimum qualifications for tutors and assessors, and special resource requirements.

Comments on this unit standard

Please contact Competenz at qualifications@competenz.org.nz if you wish to suggest changes to the content of this unit standard.