| Title | Interpret irrigation system performance results against system specifications, and report findings |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 15 |

| Purpose | People credited with this unit standard are able to: identify and describe irrigation system specifications and KPIs and their implications on system performance; interpret results of irrigation system performance; and report findings from the irrigation system performance assessment. |
| --- | --- |

| Classification | Water Industry > Irrigation |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation, and the policy statement relevant to this unit standard include but are not limited to:

- Building Act 2004;

- Health and Safety at Work Act 2015;

- Resource Management Act 1991;

- National Policy Statement for Freshwater Management 2014;

and any subsequent amendments.

2	Definition

Key Performance Indicators (KPIs) cover aspects of a systems operation through data collection during field testing and may vary depending on system type.

- For the purposes of assessment:

- evidence for the practical components of this unit standard must be collected from two separate commercial irrigation systems.

- the irrigation system performance assessment is for an agricultural or horticultural property, sports turf, or public ground.

- evidence for all outcomes must be presented in accordance with New Zealand Piped Irrigation System Performance Assessment Code of Practice; New Zealand Water Measurement Code of Practice; and Irrigation New Zealand Technical Glossary; available from the Irrigation New Zealand website, http://irrigationnz.co.nz/.

Outcomes and performance criteria

Outcome 1

Identify and describe irrigation system specifications and KPIs and their implications on system performance.

Performance criteria

  - Identify system specifications and describe their implications on system performance.

1.2	Identify system KPIs and describe their implications on system performance.

Outcome 2

Interpret results of irrigation system performance.

Performance criteria

2.1	Run a system performance assessment and compare results with system specifications and KPIs.

2.2	Interpret results and where appropriate determine potential variations in expected performance and adjust to meet system specifications and KPIs.

Outcome 3

Report findings from irrigation system performance assessment.

Performance criteria

3.1	Produce a report of assessment results, conclusions and recommendations.

| Replacement information | This unit standard replaced unit standard 20959, 20957 and 20960 |
| --- | --- |

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 August 2015 | 31 December 2022 |
| Review | 2 | 27 February 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0179 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Primary Industry Training Organisation standards@primaryito.ac.nz if you wish to suggest changes to the content of this unit standard.