| Title | Prepare the design and delivery documentation for an irrigation system |  |  |
| --- | --- | --- | --- |
| Level | 5 | Credits | 15 |

| Purpose | People credited with this unit standard are able to: prepare a design report and contract, an installation and commissioning programme; create as-built drawings; and produce an operation and maintenance manual for an irrigation system. |
| --- | --- |

| Classification | Water Industry > Irrigation |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation, regulations, and the policy statement relevant to this unit standard include but are not limited to:

- Building Act 2004;

- Health and Safety at Work Act 2015;

- Resource Management Act 1991;

- Electrical (Safety) Regulations 2010;

- Resource Management (Measurement and Reporting of Water Takes) Regulations 2010;

- National Policy Statement for Freshwater Management 2014;

- Local bylaws;

and any subsequent amendments.

- For the purposes of assessment:

- the irrigation system performance assessment is for an agricultural or horticultural property, sports turf, or public ground;

- evidence for all outcomes must be presented in accordance with: New Zealand Piped Irrigation System Performance Assessment Code of Practice; New Zealand Piped Irrigation Systems Design Code of Practice; New Zealand Piped Irrigation Systems Installation Code of Practice; New Zealand Water Measurement Code of Practice; and Irrigation New Zealand Technical Glossary; available from the Irrigation New Zealand website, http://irrigationnz.co.nz/.

3	References

- Guide for Writing an Irrigation System Commissioning Report

- The Irrigation New Zealand Guideline for Backflow Prevention

- The Irrigation New Zealand Guideline for Writing a Design Brief

- The Irrigation New Zealand Design Checklist

- The Irrigation New Zealand Guideline for Operation and Maintenance Manual

All documents are available from the Irrigation New Zealand website, http://irrigationnz.co.nz.

Outcomes and performance criteria

Outcome 1

Prepare a design report and contract to deliver an irrigation system.

Performance criteria

1.1	Prepare a report detailing irrigation system specifications.

1.2	Determine operation costs for an irrigation system.

1.3	Prepare a contract for supply, installation and commissioning of an irrigation system.

Outcome 2

Prepare an installation programme for an irrigation system.

Performance criteria

2.1	Identify critical milestones and external factors that may affect the programme of work and prepare an installation programme of work.

Outcome 3

Prepare a commissioning programme for an irrigation system.

Performance criteria

3.1	Prepare a commissioning programme, taking into account critical milestones and external factors.

Outcome 4

Create as-built drawings of an irrigation system.

Performance criteria

4.1	Identify appropriate measurements and determine scale to produce an as-built drawing.

4.2	Create as-built drawings of an irrigation system.

Outcome 5

Produce an operation and maintenance manual for an irrigation system.

Performance criteria

5.1	Select and collate information to produce an operation and maintenance manual for an irrigation system.

| Replacement information | This unit standard replaced unit standards 25137 and 25138. |
| --- | --- |

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 August 2015 | 31 December 2022 |
| Review | 2 | 27 February 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0179 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Primary Industry Training Organisation standards@primaryito.ac.nz if you wish to suggest changes to the content of this unit standard.