| Title | Determine irrigation system requirements for a commercial enterprise |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to: describe the Resource Management Act and the implications for sustainable use of water for irrigation; describe soil, crop and climate characteristics and their impacts on an irrigation system; prepare a design brief for an irrigation system. |
| --- | --- |

| Classification | Water Industry > Irrigation |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation and the policy statement relevant to this unit standard include but are not limited to:

- Building Act 2004;

- Health and Safety at Work Act 2015;

- Resource Management Act 1991;

- National Policy Statement for Freshwater Management 2014;

and any subsequent amendments.

- For the purposes of assessment:

- evidence for this unit standard must be collected from two separate commercial irrigation systems;

- the irrigation system performance assessment is for an agricultural or horticultural property, sports turf, or public ground; and

- evidence for all outcomes must be presented in accordance with New Zealand Piped Irrigation System Performance Assessment Code of Practice; New Zealand Piped Irrigation Systems Design Code of Practice; New Zealand Water Measurement Code of Practice; and Irrigation New Zealand Technical Glossary; available from the Irrigation New Zealand website, http://irrigationnz.co.nz/.

Outcomes and performance criteria

Outcome 1

Describe the Resource Management Act and its implications for sustainable use of water for irrigation.

Performance criteria

1.1	Describe the impacts of the Resource Management Act on irrigation systems.

1.2	Describe the consenting requirements and the impacts on irrigation systems.

Outcome 2

Describe soil, crop and climate characteristics and their impacts on an irrigation system.

Performance criteria

  - Describe the impacts of soil characteristics and profile soil types on an irrigation site.

2.2	Describe the implications of climate and weather features on an irrigation site.

2.3 	Describe the implications of crop features on an irrigation system.

2.4	Describe how the characteristics of soil, crop, and climate impact on one another and in relation to an irrigation system.

Outcome 3

Prepare a design brief for an irrigation system.

Performance criteria

3.1	Collect site-specific information and identify implications and limitations for an irrigation system.

3.2	Calculate key performance indicators for the design brief for an irrigation system.

3.3	Compile a design brief that will determine irrigation system requirements.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 August 2015 | 31 December 2022 |
| Review | 2 | 27 February 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0179 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Primary Industry Training Organisation standards@primaryito.ac.nz if you wish to suggest changes to the content of this unit standard.